PRINCIPLES OF BLOOD GASES DETERMINATION

- Blood gases determination is the determination of PH, PO2, PCO2  and HCO3- in the blood.

- Blood gases is the amount of oxygen and carbon dioxide present in the blood. Haemoglobin an ion containing protein in the red blood cells carries oxygen in the blood. When the partial pressure of oxygen (PO2) in the lungs is high, haemoglobin takes up the oxygen and releases it when the partial pressure of oxygen is low.

- The transfer of carbon dioxide in the lungs occurs when the partial pressure of carbon dioxide (PCO2) in the blood from the tissues is higher than the partial pressure of carbon dioxide in the alveolar air in the lung.

- Blood gases measurements are used to evaluate oxygenation and acid base(PH) status of the blood.

- PH of the blood

- PH of blood is an important parameter of determining the acid base balance of the body. The PH of the extracellular fluid should be maintained at between 7.35—7.45 in order to maintain proper function of the body.

- Carbonic acid (H2CO3), influence the acid base balance. The equilibrium between acid and base ions is held constant by bicarbonate ions(HCO3-), which act as a buffering system.

- Ht  ± HCO3- ↔ H2CO3 ↔ H2O ± CO2

- The blood PH is maintained at 7.35—7.45 by the removal of CO2 by the removal of CO2 by the lungs during expiration.

- Another important mechanism of maintain acid base equilibrium is the action of the renal enzyme known as carbonic anhydrase which catalyses the reaction between CO2 and H2O to form carbonic acid. The carbonic acid breaks down into Ht and HCO3-. The hydrogen ions are excreted by the kidneys into the urine whereas the bicarbonate ions pass into the plasma to restore the bicarbonate level.

Measurement of total PCO2, PO2, HCO3 and PH

- Total CO2 is the carbon dioxide liberated from the dissolved CO2 and HCO3- from the plasma.

- The total CO2 can be measured in the venous blood using automated equipment.

Blood gas analyser

- Blood gas analyser is an automated blood gas instrument fully computerized and programmed to determine the levels of PH, PO2, PCO2 and HCO3- in a single specimen simultaneously with the help of separate ion selective electrode for each parameter.

Normal values

- PH→7.35—7.45

- PCO2→34—45mmHg or 1.02—1.35mmol/l

- HCO3- → 22.4—25.8mmol/l

- PO2 → 83—108mmHg

Clinical significance

- Disturbance in acid base balance may either be respiratory or metabolic in origin. These disturbances are medically referred to as acidosis or alkalosis.

- Acidosis is an abnormal process which produces acidaemia and alkalosis is an abnormal process which produces alkalaemia.

Blood brain barrier

- Blood brain barrier is a separation of circulating blood and the brain extracellular fluid in the central nervous system. When an acidic dye is injected into living animals, the dye would stain all organs and tissues except the brain and the spinal cord.

- The failure of the neural tissue (brain and spinal cord) to stain is due to the existence of a blood brain barrier. Subsequent research has established that water, CO2 and O2 enter the brain with ease but the exchange of other substances between blood and brain is slow.

- The site of the barrier is the endothelium of cerebral capillaries and the choroid plexus epithelium. There is considerable variation in capillary permeability from organ to organ in the body. However, the exchange across the cerebral vessels is so different from that in other capillary beds.

Penetration of substances into the brain

- The rapidity with which substances penetrate brain tissue is inversely related to their molecular size but directly related to their lipid solubility. There is an Ht gradient between brain extracellular fluid and blood. The PH of brain extracellular fluid is 7.33 whereas that of blood is 7.4.

- Water, CO2 and O2 cross the blood brain barrier readily, whereas glucose, protein cross more slowly. It is worth to note that no substance is completely excluded from the brain but the important consideration is the rate of transfer of the substance.

- The cerebral capillaries are much more permeable at birth than in adulthood and the blood brain barrier develops during the early years of life.

Function of the blood brain barrier

- The blood brain barrier maintains the constancy of the environment of the neurons in the central nervous system. These neurons are so dependent upon the concentration of Kt, Ca2t Mg2t, Ht   and other ions in the fluid.

- Other suggested functions for the blood brain barrier are protection of the brain from endogenous and exogenous toxins in the blood and prevention of the escape of neurotransmitters into the general circulation

Clinical implications

- Physicians must know the permeability of the blood brain barrier to drugs in order to treat diseases of the nervous system intelligently. For example, some antibiotics such as penicillin enter the brain to a very limited extend, while sulfadiazine and erythromycin enter quite readily.

- Another important clinical consideration is the fact that the blood brain barrier tends to break down in areas of the brain that are irradiated, infected or site of the tumors. The breakdown helps in identifying the location of tumors.