HISTOLOGY

INTRODUCTION

Definitions

Histology- is the microscopic study of body tissues.

Pathology- Is the branch of medicine concerned with determining the nature and course of disease by analyzing body tissues and fluids.

Hstological/ Pathological techniques- Are procedures done for the preparation of materials for histology.

Histopathological techniques involve:

1. Preparing and examining smears, preserving and processing tissues and recognizing faults. These are the main skills a Lab Technologist must know.

2. He/she must know the basic cell structures, the organs and the system found in them

Cytology-Is the branch of biology concerned with the study of the structure and function of cells and individual units.

IMPORTANCE OF HISTOPATHOLOGY

This is the study which provides the following;

- Knowledge of cellular structures of different structures of the body thus improving the understanding of their functions.

- Change due to inflammatory processes.

- Recognition of cancer cases

- Changes due to bacterial infection in tissues for example leprosy and tuberculosis.

- Diagnosis of parasitic diseases from Entamoeba histolytica,schistosomes,Trichinella spirallis,malaria parasites and others.

- Diagnosis of fungal infections, particularly the deep fungi like actinomycosis and cryptococci.

- Diagnosis of spirochaetes for example treponema  pallidum which causes syphilis.

- Diagnosis of viral infections through the detection of viral inclusion bodies for example herpes and negri bodies

GENERAL FEARTURES OF VERTABRATE DEVELOPMENT

Vertebrates- are animals with backbones e.g man, fish, frog etc

Morphogenesis-is the formation of body of all the vertebrates

The vertebrates to which other animals belong can be defined as;

1 .Tripoblast-three layered.

2. Metameric- segmented.

3. Coelonic- has body cavity

4. Bilaterally symmetrical.

5. Have pharyngeal clefts- mouth parts.

6. Poses at some stage of their development a notochord- a dorsal hollow nerve cord.

- Normal development of the body tissues begins with a sperm fertilizing an egg yielding a zygote.

- The zygote divides into daughter cells.

- The daughter cells in turn divide into more cells forming a multicellular mass of cleavage cells (attaching to each other by their surfaces).

- The cleavage cells begin to arrange themselves in layers called the fundamental germ layers or cellular layers. In the process of formation of layers, three distinctive germ layers evolve and are given three names according to their  position;

1. Ectoderm layer- external layer.

2. Mesoderm layer- middle layer.

3. Endoderm layer- inner layer.

- By process of folding and localizing growth of the germ layers, an embryo is formed.

- The cells of the germ layer also differentiate into tissues and the tissues also specialize into organs and other parts.

- The organs forms special systems.

- The specialization of cells of the fundamental germ layers into tissues and organs is called HISTOGENESIS (giving rise to tissues)

- There are four types tissues that arefound in any adult organ which are caused by histogenesis. These four primary tissues are namejy;

- Epithelial tissues

- Connective tissues

- Muscular tissues

- Nervous tissues

These four tissues are called primary or basic tissue and are present in every organ in varying amounts.

1st Def:

A tissue is a collection of similar specialized cells performing a similar function and must have come from the same germ layer.

2nd def

A tissue may be defined as a group of similar cells and their products specialized in a common direction and perform a common function and that the entire cells have the same embryonic origin.

Associated elements that play a subordinate function or roles in the tissues are the connective tissues, the blood vessels and nerve fibres.

The associated parts are considered as primary tissues.

DERIVATIVES OF GERM LAYER

1   The ectoderm layer gives rise to:

- Epithelia cells of skin ,nails sebaceous and sweat glands

- Epithelia of the mouth and anus and enamel

- Epithelia of nose and glands associated with it

- Epithelia of the outside of membranes in the ear

- Epithelia of the outside of the cornea and conjunctiva

- All nerve cells lining the central canal membrane

2   The mesoderm layer gives rise to:

- All connective tissue (not neuralgia)

- Lymphatic glands, blood cells , bone marrow

- Skeleton ,cardiac and smooth muscle

- The endothelium of both blood and lymph vessels

- Epithelia of genito –urinary system except urethra and bladder

.

N/B

Epithelium tissue is a sheet –like covering with one free surface and the other attached to the basement membrane.

3 The endoderm layer gives rise to:

- Epithelia of the mouth and anus

- Liver ,gall bladder

- Respiratory tract

- Vagina, thyroid and urethra

TISSUE CELLS

Def: A cell is the smallest particle of living matter that is able to reproduce.

- The study of tissue cells enables one to understand certain aspects of fixation and preservation of cells in relation to histopathological techniques.

- The cell is the centre of all functions of tissues

- The tissue contains the cells which are the functional units. Therefore the cell can be defined as a basic unit of life in all living things.

- Cells vary in size ranging from 2µ to several millimeters

- The cell consists of the nucleus which contains DNA and RNA and cytoplasm which has mainly the RNA

- Animal cell have a general characteristic average diameter of 5 - 15µ

- The human body cells have an average diameter of between 10 – 25µ

- The size of the human body is determined by the number of cells rather than the size of cells

- An averaged sized individual will have 25,000 trillion red blood cells.

- The human brain contains about 12,000,000,000 cells and about 2.5×10³ on average.

- In addition to the cells, there are extracellular substances or body fluids. This participates in composition and function of the body.

- The body fluids contain 70% water of the body weight of man

- Some tissues have more water than others.

- Intercellular substances are materials that lie between the cells and support them.

COMPOSITION OF CELLS

- A tissue cell is composed of a nucleus and cytoplasm.

- Both will stain differently in a histological preparation

- The cytoplasm stains usually very lightly to avoid masking of the nuclear stain.

- Because of the light staining of the cytoplasm, it is difficult to see its outline.

- The nucleus usually stains darkly with basic dyes e.g. haematoxylin stain and is usually readily visible

- The nucleus also contains protoplasm called nucleoplasm or karyoplasm.

THE TISSUE CELLS

- CYTOPLASM

Consists of:

  - Cell membrane

  - Ground cytoplasm

  - Centriole

  - Mitochondria

  - Golgi elements

  - Endoplasmic reticulum

  - Lysosome

  - Cytoplasmic inclusions

Diagram: Structure of a tissue cell

- Cell  membrane

  - Also called the plasma membrane.

  - It is an extremely fine film that completely covers the cytoplasm

  - It protects the cell from damage

  - It is semi-permeable and is composed of protein and fat(lipid)

  - It allows the passage of food and excretory products by osmosis

  - The cell membrane may be pierced with a fine pipette, thus allowing substances to be injected into the cytoplasm without causing death of the cell.

2. Ground Substance

  - This comprises the whole cell excluding the nucleus.

  - In a living cell, the ground substance is a homogenous, translucent substance containing water with salt and sugar solution and proteins in colloidal form. Water forms 80% of the total cell weight.

  - The dissolves salts produce an osmotic pressure of approximately equivalent to 0.85% aqueous solution of sodium chloride.

  - Inorganic salts are present and can be demonstrated by using micro-incineration method and polarizing microscopy.

  - In a fixed cell the cytoplasm appears granular, reticular or fibrillar.

  - In a living cell the golgi apparatus, mitochondria and cytoplasmic inclusions (fat and glycogen) are suspended in the cytoplasm

  - In some cells the RNA (Ribonucleic acid) particles may be present. Their presence leads to the basophilic staining reaction.

3. Centriole

  - It is present in most mammalian cells and appears like a small granule

  - It lies in the long axis of the cell in polarized cells, between the golgi element and neutral red vacuoles.

  - It is usually close to the nucleus.

  - Its division into two is the first indication that the cell is about to divide

  - The centriole has no apparent structure and is resistant to reagents.

  - It stains intensely with many dies

4. Mitochondria

  - Also referred to as power house

  - It is a minute, rod-like, filamentous or granular structure with smooth outline

  - It is present in majority of mammalian cells but absent in mature red cells

  - It disappears on the death of cells

  - The mitochondrion is thought to be concerned with cellular metabolism.

  - It is seen in living cells under dark field or phase contrast microscopy after staining with supravital stain e.g. Jennus Green stain.

N/B: Supravital staining – the staining of living cells.

5. Golgi element/bodies/apparatus

  - It is present in most cells

  - It is seem as neutral red vacuole in living cells and as Golgi element after death of cells.

  - During mitosis the Golgi element breaks up into rodlets which separate into equal amount. The rodlets do not divide.

  - The Golgi element is demonstrated by silver and osmium tetroxide and appears as rodlets or network.

6. Endoplasmic Reticulum

  - Also called cytoplasmic RNA or Egastroplasm

  - This organelle is a network of membrane vesicles and tubules (channels) extending throughout the cytoplasm.

  - The membrane vesicles and tubules are only visible under the electron microscope.

  - The tubules are fluid filled or just flattened sacks.

  - There are two types of endoplasmic reticulum

    - The granular types or rough surfaced reticulum

    - The agranular types or smooth surfaced reticulum

The Granular Reticulum

- These are beaded (studded) with ribosome or Palade granules.

- These are arranged in rows and are in contact with the outer surface of the membrane.

Illustration

- The ribosomes contain a protein-bound Ribonucleic acid (RNA) which is responsible for its basophilic staining with basic dyes. For this reason, the granular reticulum is sometimes called the basophilic components of the cytoplasm.

- Some ribosomes will be found lying free not attached to the reticulum and also have RNA.

- They are found in the cytoplasm and are concerned with cellular protein synthesis.

The Agranular Reticulum

- This is not associated with ribosomes.

- It is present in large amounts in certain cells e.g. liver cells, intestinal cells, parietal cells of the gastric glands in the stomach.

7. LYSOSOMES

- These are spherical bodies which are membrane-bound and visible under the electron microscope (similar in shape to mitochondria).

- They contain various digestive and/or hydrolytic enzymes e.g:

- Phosphates

- Ribonuclease

- Deoxyribonuclease

- Cathepsins

- Glycosidase

- Sulphatase

- Lysosomes are plentiful in cells performing digestive functions e.g. macrophages and white blood cells.

- In white blood cells, lysosomes are seen as granules under the electron microscope.

- The food material which id ingested by phagocytic cells is digested by enzymes released from these organelles, the waste being excreted from the cell.

- On deaths, these enzymes are released and cause the lysis of the cell (autolysis)

8. Cytoplasmic Inclusions

- These are structures present in the cytoplasm and are not living components of the protoplasm.

- They generally include both metabolic products and ingested substances.

- They are as follows:

- Nutritive substances

  - Protein

- It is rarely stored as an inclusion in the cytoplasm, although it can be found in the liver cells

- The body reserve of protein exists in the general cytoplasm

- During starvation, the cell will maintain its metabolic function by consuming its own cytoplasm to get protein.

b. Fats

- Reserve of fats occurs as globules in the specialized cells in the connective tissue called Adipose tissue whereby the cytoplasm remains a thin layer enclosing the fat droplet.

- The stored fat may be dissolved by some fixatives if they are not rendered insoluble.

- Some fats may be invisible and is called “masked” or “bound” fat. The fat is either thinly depressed in the body cells or combined with proteins.

Illustration: fat globalue

c. Carbohydrates

- Glucose is a carbohydrate absorbed in the intestine and is stored in the liver as glycogen

- The liver is the richest site of carbohydrates

- Carbohydrates probably occur in the cytoplasm as fluid droplets

- Fixation precipitates carbohydrates in the form of compound granules

d. Pigment Granules

- It is synthesized by various cells in the body e.g. melanoblasts (melanin forming cells).

- The most common pigments formed in the body are melanin, haemoglobin and lipochromes.

      - Melanin- light absorption

      - Hb- oxygen binding

      - Lipochromes- wear and tear(waste products of fat metabolism)

e. Vacuoles

These are spaces filled with fluid. They are absorbed by membrane.

B. THE NUCLEUS

- It is the prominent body within the cytoplasm

- It is denser than the cytoplasm

- The nucleus is considered to be the vital center of the cell (determines activities of the cell)

- In most cases, there is only one nucleus in the cell and only occasionally there may be more than nucleus (bi-nucleated condition) in the liver cells and the epithelial cells of the bladder.

- Multicellular conditions (more than three nuclei) is a very rare condition in normal cells  (it is only present in malignant cells- pathological conditions)

- The nucleus is globular to ovoid in shape, but some other shapes may occur e.g.

  - Elongated shapes- in smooth muscles

  - Crescent shapes- in monocytes

  - Lobulates- in neutrophils in normal conditions

STRUCTURE OF THE NUCLEUS

- Under the ordinary light microscope, the living nucleus is homogenous except for the nucleolus.

- The nuclear protoplasm is divided into 4 parts:

  - Nuclear membrane

  - Nucleolus

  - Karyosomes

  - Chromatin meshwork/granules

- Nuclear membrane

- This is a fine film that completely covers the nucleus

- It is believed to be impermeable and its rupture leads to the death of the cell

b. Nucleolus

- This is a small dense body containing RNA and protein

- One or more of bodies may appear in a resting cell nucleus and is visible during life.

- It disappears during mitosis (cell division)

c. Karyosomes

- There may be several karyosomes in a single nucleus.

- They are often irregular in shape and consist of chromatin or nucleoprotein

- They stain more intensely with basic dyes than the nucleolus

d. Chromatin meshwork/granules

- These are nucleoprotein of chromosomes which stain strongly with basic dyes.

- They are normally invisible in a resting cell

- During mitosis (cell division) they become visible

CELL DIVISION

- Cells of protozoa (unicells) and even cells of adult human body tissues divide and reproduce themselves.

- The exceptional cells are cells of the nervous systems and mature blood cells.

- The process of cell division involves both the division of the cytoplasm (cytokinesis) and division of the nucleus (karyokinesis)

- There are three forms of cell division:

  - Amitosis division

  - Meiosis division

  - Mitosis division

- Amitotic Cell Division

- Also called direct cell division

- In this case, the nucleolus, nucleus and cytoplasm constrict and split into two unequal separate cells with unequal chromatin.

- This type of cell division has been observed in moribund cells (old dying cells) but it never occurs in young unspecialized cells even germ layer cells in normal human beings.

- Occasionally, cells of the cancerous tissue may show this type of cell division in humans.

2. Meiosis Division

- Is a type of cell division that produces four daughter cells, each having half the number chromosomes of the original cell.

- It occurs before the formation of sperm and ova and the normal (diploid)  number of chromosomes is restored after fertilization

3. Mitotic Cell Division

- This type of division occurs in human body cells and is called indirect cell division

- The activities involve both the karyokinesis and cytokinesis.

- The reproductive cells use this form of cell division to ensure a precise distribution of genetic materials in the cytoplasm of the daughter cells.

- This is the main function of this cell division. The replication of the DNA during interface is a preparatory stage for the precise division of genetic material which occurs during mitosis.

- This cell division is also important in relation to cell growth.

N/B:

Moribund- dying condition

Morbid- diseased

Morbid anatomy- diseased anatomy

- There is no increase in total cell mass during mitosis but after the cell division, the daughter cells grow until the cytoplasm mass reaches a point that is characteristic to that particular cell.

- The process of mitosis is composed of a series of continuous changes which may be conveniently grouped into 5 stages or phases:

  - Interphase

  - Prophase

  - Metaphase

  - Anaphase

  - Telophase

- Interphase Stage

- This is the resting phase of the cell

- When a cell is stained by a basic dye at this stage, the nucleus, nucleolus, chromatin granule, centrioles and nucleoplasm are demonstrated.

- The individual chromosomes are present but cannot be recognized as distinct entities (individuals). They are thin and long.

- During this stage, the DNA and the genes replicate exactly following the chromosomal pattern.

b. Prophase Stage

- Also called phase of division

- It involves the preparation of chromatin for division by condensation of chromosomes

- In early Prophase, the chromosomes show a series of dense chromatin regions called chromomeres or a threadlike structure called chromonema. Each of these chromomeres contains one or more genes.

- The chromosomes become shorter and compact.

- Because of the coiling of the chromosomes and dehydration, the chromosome splits into two chromatids

- The chromatids are composed of filaments called chromonemata.

- Other changes taking place in the nucleus include the disappearance of the nuclear membrane allowing its contents to mix with that of the cytoplasm

- The nucleoli also disappear and its RNA is incorporated in the chromosome

- There are also changes in the cytoplasm that take place in the same time as those in the nucleus.

- The changes involve the centrioles. The centriole divides into 2 centrioles called diplosomes. The centriole is surrounded by a centrosome. The centrosomes move away from each other but are connected by fine protoplasmic fibrils which form a spindle-shaped structure called chromatin-spindle.

- By the end of the Prophase, the centrioles have occupied the edge of the cells.

3. Metaphase

- During this stage, the nuclear membrane disappears and centrioles arrange themselves at the opposite pole of the cell.

- The two chromatids of each chromatin start to repel each other forcing the chromosomes to move towards the centriole at either end of the spindle.

4. Anaphase

- During this stage, the chromosomes continue to move in opposite poles towards the two centrioles and the spindle elongates into a cylindrical body.

- The cytoplasmic membrane becomes elongated and constricted.

5. Telophase

- During this last stage the chromosomes are now at opposite poles and the spindle stem starts to disappear.

- The nuclear membranes are formed and the chromosomes now unravel and dissolve into new nucleus.

- The cytoplasmic membrane which has become elongated and constricted now divides into two. The two cells are connected by a fine thread which gets cut as the new cells move apart.

Note:

The time yield in mitosis varies in different cells but is completed in less than 1 hr. under favorable conditions.

EPITHELIAL CELLS

- This is a group of cells that line the internal and external surfaces of the body.

- One or more layers of these cells form the epithelial membranes. Epithelial cells also line the ducts by which glands drain onto these surfaces.

- Epithelial tissues are primarily protective, preventing damage to the underlying structures and the injurious passage of fluids.

- They often play a secretory role and absorption role. Some are sometimes modified for the reception of stimuli.

- All epithelial membranes are to continually subjected to variable  physical and chemical change. The loss of cells occasioned by this damage is overcome by an equally continuous process of regeneration, the rate of which varies greatly in different sites.

- Epithelial cell regeneration takes place in the deepest layer and as time passes the young cells migrate towards the surface. Epithelial membranes rest upon supporting loose vascular connective tissue.

- From the blood vessels of this layer, the epithelium obtains its metabolic requirements.

- In the vessels and lymphatics of this tissue are absorbed substances required by the body. At the junction between the epithelial cells and connective tissue the intercellular substance of the later is condensed to form a basement membrane.

- The cells of the epithelial membranes are describes as:

  - Squamous (flat)

  - Cuboid (box-shape)

  - Columnar (elongated)

This description is in relation to the basement membrane on which they lie

The cells may be arranged in one of the three ways:

- Simple Epithelium

- Here the cell surface is formed by a single layer of cells

- This type of epithelium lines surfaces which are engaged in secretion or absorption.

2. Stratified Epithelium

- In this form of epithelium, more than one layer of cells is present, only the deepest layer being in contact with the basement membrane.

- This type of epithelium lines those surfaces that are subjected to frequent mechanical or chemical disturbances but which are not engaged in secretion or absorption.

3. Pseudostratified Epithelium

- The cells in this type of epithelium are in contact with the basement membrane.

- The varying height and shape suggest the presence of more than one layer.

- It predominates the upper respiratory tract and it is usually ciliated.

- There is a difference between the epithelial membranes which line wet and those which line dry surfaces.

- In wet surfaces the cells of the outermost layer or layers remain alive because of the retention on the surfaces of a layer of mucin.

- In dry surfaces the outermost cells die, become dehydrated, fused together and converted into a poorly soluble and impermeable proteinaceous material called keratin.

The following nine combinations of cell types are and cell arrangements are found in every normal body:

- Simple Squamous Epithelium

It facilitates diffusion or filtration of substances and is found in living pulmonary alveoli, loops of Henle, endothelial lining blood vessels and lymph vessels, inner surfaces of lymphatic membrane and membranous labyrinth of the ear.

2. Simple Cuboidal Epithelium

- These cells combine the maximum volume with the minimum surface area.

- They are found in the germinal epithelium of ovary, thyroid vesicles and pigment layer of retina.

3. Simple Columnar Epithelium

- This is concerned with the secretion of substances such as mucus or for absorption by means of microvilli.

- Sometimes both functions are performed by cells of one epithelial membrane as in the small intestine.

- Other areas are the alimentary canal from the stomach to the anus and gall-bladder.

Illustration

4. Simple Columnar (Ciliated)

- It serves both mechanical and glandular functions.

- It is found in the fallopian tubes, small bronchi and bronchioles.

Illustration

5. Pseudostratified Columnar Epithelium

- They are arranged in many layers of which the deepest rest on the basement membrane.

- They are found in ducts of salivary glands, Eustachian tube, vas deferens and part of male urethra.

Illustration

6. Pseudostratified Ciliated Epithelium

- Some of these cells secrete mucus whereas others are engaged in moving mucus across the epithelial surface by the mechanical action of the cilia.

Illustration

7. Stratified Squamous Epithelium

- The surface layers may be moistened and non-keratinizing as in the vagina or dry and keratinizing as in the skin.

- The other areas covered by this epithelium are the epidermis covering the whole surface of the body, those lining the mouth and the cornea.

Illustration

8. Stratified Columnar Epithelium

- It is found in the urethra.

Illustration

9. Transitional Epithelium

- This is a variety of stratified epithelium

- It allows great alterations in extent and thickness, and is therefore found lining cavities that are subject to great influctuations in size by contraction and by stretching.

- The deepest cells are usually columnar or cuboidal, the more superficial cells are irregular polyhedrons (of many sides).

- This kind of epithelium is found in the kidneys, pelvis, ureters, bladder and part of the urethra.

- It follows therefore that all parts of the body and organs are made of the above epithelial surfaces.

CELL AGING AND DEGENERATION

- During life, a cell shows great variation. The variations are in many aspects ranging from the youth up to the end of the lifespan.

- The nerve cells which become differentiated very early in life lose the power of mitosis and live as long as the body is still functioning.

- The other cells live a very short life e.g. epithelial cells of the skin live for two weeks. The other cells that live for a very short lifespan are continuously being replaced by new cells through mitosis.

- Mitosis is common in connective tissue and in actively secreting cells. All cells (short and long lived) will show signs of senescence and old age after a certain time.

- The various metabolic activities become reduced in intensity and processes in mitosis become infrequent or absent in some cases.

- Finally, metabolism and function cease all together. Thus, growth and differentiation are followed by disintegration of activities of life leading to inevitable death.

- These series of successive changes, growth, disintegration, differentiation and death are normally undertaken by a cell during its total lifespan and is called CYTOMOPHOSIS.

- The changes are continuous and can be recognized in four main stages:

  - Embryonal stage

  - The differentiation and maturity stage

  - The degeneration stage

- Death and removal stage

- 1st Stage

- After differentiation, cell division is most active and rapid. The nucleus is usually large.

- At early stages there are no signs of cell differentiation that is visible.

2. 2nd Stage

- Subsequently, mitotic division(s) marks more differentiation in form, structure and function.

- The changes involve chiefly the cytoplasm and its products. Sometimes the cell specialize to return to a less specialized state.

- Examples are the catchment cells sometimes differentiate to return to a former specialized state (from cartilage cells to mesenchymal cells).

3. 3rd Stage

- Degeneration changes appear in the nucleus and the cytoplasm.

- The changes characterize the ordinary function and distinctive function of the cell will diminish and finally stop.

4. 4th Stage

- In this stage, death occurs when all the vital processes of the protoplasm cease and the protoplasm becomes simultaneously irreversibly coagulated and finally death of cells follow.

- The dead cells may be lost either by dissolving or shading or being ingested by other cells e.g. phagocytes.

- The microscopic sign of death of the cell is the diffused staining of the cell cytoplasm and nucleus.

NECROBIOSIS

- The process of progressive degenerative change of a dying cell is called necrobiosis.

- This is a normal inevitable phase in the history of a cell fulfilling its lifespan.

- Necrobiotic processes leading to cell death (necrobiosis) differ from the post-mortem degenerative changes called autolysis

- The later is brought about by enzymes. It occurs slowly or quickly depending on the tissue involved and is affected by temperature.

- There are several types of necrobiotic processes namely:

  - Cytolysis

  - Coagulation

  - Pyknosis

  - Karyolysis

  - Karyorrhexis

1. Cytolysis

It involves the decrease in protoplasmic viscosity, also cell liquefaction, swelling and bursting of the cells.

2. Coagulation

It Involves the decrease in protoplasmic viscosity followed by irreversible gelatin formation.

3. Pyknosis (pyknotic changes)

This result when all the nucleus contracts and all the chromatin granules condense to one or more heavy staining clumps

4. Karyolysis

This is when the cell nucleus and its chromatin disappears as it dissolves. The cell loses its ability to be stained by basic dyes. The loss of color is due to the loss of nucleus and chromatin. The loss or disappearance of color is referred to as chromatolysis.

5. Karyorrhexis

The cell nuleus just fragments and scatters (disappears)

NOTE:

- Some cells have a transitionary existence. Others live part or all their total lifespan e.g. the epidermal cells of the skin live for several weeks.

- Intestinal cells live for just a few days

- Nerve cells live for several years

- Aging of a tissue or organ with visible changes is a normal feature of the lifespan. It enters at different times and proceeds at different speeds.

- Some organs have a lifespan that degenerates before birth e.g. yolk sac. Other organs become absolute and start the degeneration course at birth e.g. foetal cortex of supra-renal gland supersede foetal blood vessels.

- Other organs just decline in adolescence or middle age e.g. thymus gland and ovary.

- Most organs even when impaired, try to continue to function even into old age. With increasing age, the amount of armophus tissue substance is reduced.

- A lot of changes occur in the collagenous and elastin tissue. The changes rarely take place in the bone tissue.

POST MORTEM CHANGES

- These are changes that take place on tissue cells soon after death or removal of the cell from the body.

- They are of two types namely:

  - Autolysis

  - Putrefaction

- AUTOLYSIS

- Is the dissolving or lysing of cells due to the action of enzymes.

- The normal behavior of enzymes is altered after death or removal of the cell from the body when lysosomes rupture to release enzymes which dissolve surrounding cells.

- This happens in specialized organs e.g. brain, kidneys and alimentary canal.

- The main group of enzymes causing this is cathepsins, which react on proteins to peptides.

- Some are carboxy-peptides and amino-peptides which break down peptides to individual amino acids.

b. PUTREFACTION

- This is caused by bacterial action on tissues soon after death or removal from the body resulting in gas formation.

- Bacteria come from the alimentary canal and surrounding organs.

- These bacteria are normal flora during life.

- Some bacteria may have been pathogenic during life affecting the tissue e.g. TB, Neisseria meningitides etc. which multiply after death of the tissue.

Autolytic Signs

Various cell components undergo different changes:

- Nucleus- It condenses (pyknosis) then fragments (karyorrhexis) and disappears (karyolysis)

- Cytoplasm- It swells, granulates and becomes a homogenous mass with loss of normal staining reaction.

- Epithelium- It desquamates (the process in which the outer layer of the epidermis of the skin is removed scaling) and splits away from the basement membranes.

- Glycogen- Diffuses and diminishes out of the cells leaving empty spaces.

N/B:

- In order to prevent these post-mortem changes, chemical substances are used to preserve the tissue cells soon after death or removal from the body.

- The prevention of autolysis and putrefaction is called fixation and the chemicals used are called fixatives.

- The action of fixatives is affected by temperatures. Fixation is increased at temperatures above room temperatures while it is lowered at low temperatures.

- Most fixatives however produce maximum effect at room temperature. Autolysis is reduced at low temperatures but increased at high temperatures above 37˚C.

- If fixation is not done immediately i.e. after removal of the cell or tissue from the body, it is good to keep the specimen at low temperatures below room temperature (2 – 4 ˚C)

FIXATIVES

What is a fixative?

A fixative is a chemical fluid or vapour used for preserving during fixing of a tissue or a cell. The purpose of fixation is to preserve in a fixative cells and tissues in life-like manner as possible.

What is fixation?

It is the art of treating a tissue specimen with a fixative. The aim of treating a tissue specimen is to preserve in a fixative the cell or tissue shape, structure, relationship and chemical constituents soon after death or removal of the cell or tissue from the body. It must be preserved in a condition close to that it had during normal life.

The Effects of Fixatives on Tissues

- Inhibition of autolysis and putrefaction (post-mortem changes)

- Preservation- the preservation of cells and tissue constituents is essential.

- Hardening- hardening effect of fixatives on natural soft tissues will allow easy manipulation of such tissues e.g. brain.

- Solidification of colloidal materials- fixation has the effect of converting the normal semi-fluid constituents of the cell to irreversible semi-solid constituents.

- Optical differentiation- fixation alters to varying degrees the refractive index of various cells and tissue components which enable unstained components to be easily than when fixed.

- 6. Avoiding or inhibiting staining- some fixatives act as mordants or accelerators to certain dyes e.g. formaldehyde intensifies haematoxylin staining  while others inhibit certain dyes e.g. osmium tetroxide inhibits haematoxylin staining.

CHARACTERISTICS OF A GOOD FIXATIVE

- Must cause sudden death to the tissue cells

- Must be antibacterial to prevent putrefaction

- Must inactivate enzymes in order to prevent autolysis

- Must penetrate the tissues quickly and evenly

- Must render insoluble substances of the cell

- Must preserve the cell in as life-like manner as possible

- Must harden tissue and enable easy manipulation of natural soft tissues or organs e.g. brain, liver and spleen.

- Must alter to varying degrees the refractive index of different cells and structures so that they are more visible due to differentiation.

- Must fortify the tissue against harmful effects of solution used for processing the tissue.

- Must allow the application of numerous staining techniques at a later date in order to render the constituents of tissues and cells more readily visible.

POST-MORDANTING (CHROMING)

- These methods are designed to improve the tissue preservation after primary fixation.

- Treatment of a tissue block with a chrome salt usually 3% Potassium dichromate is called post-chroming, while treating a tissue section with the same is called post-mordanting.

- These methods improve preservation of mitochondrial structures and myelin sheath.

SECONDARY FIXATION

- This is the application of a second fixative to facilitate the demonstration of specific substances.

- It is mainly used with tissues or organs which have been placed in primary fixative for storage purposes and for specimens requiring further techniques having already been fixed for primary procedures.

- The primary fixatives used are 10% formalin and 10% formal saline.

- These methods of fixation are not recommended when primary fixation for specific substance observation is possible in the first place.

- Fixatives used as secondary fixatives are:

    - Helly’s fluid

    - Formal sublimate

    - Mercuric chloride Formalin

    - Zenker’s formal

    - Heldenhain susa.

Post Fixation

- Some proteins in tissues are protected or masked by fatty substance which prevent their complete penetration by most fixatives.

- This results in their lose and impairment of tissue preservation. Due to this effect, such tissue is fixed, dehydrated and cleared in fat (soluble) solvents then post-fixed in absolute alcohol before re-clearing in xylenes and impregnation in paraffin wax.

CLASSIFICATION OF FIXATIVES

Fixatives are classified into Simple and Compound fixatives.

SIMPLE FIXATIVES

These contain one chemical substance in solution or vapour form. Examples are:

- FORMALDEHYDE (H.CHO)

This is a gas produced by oxidation of methyl alcohol and is soluble in water to the extent of 37 – 41% by weight.

Advantages of Formaldehyde

- Preserves fat and mucin without precipitating them.

- Has a beneficial effect of hardening but cause little if any shrinkage. Shrinkage is produced when tissues are subjected to paraffin wax embedding.

N/B:

Formaldehyde is used at a concentration of 10% solution.

Disadvantages of Formaldehyde

- Gives off an unpleasant vapor that causes irritation to the eyes and the respiratory epithelium especially the sinuses.

- Prolonged immersion of hands in the solution causes formalin-dermatitis to the hands.

N/B:

- When stored for long, formaldehyde develops a white deposit of para-formaldehyde. Its formation can be avoided by storing at low temperatures although its presence does not impair the fixing qualities of formaldehyde.

- Formaldehyde is usually acidic in its reaction due to the formation of formic acid. The formation of the acid can be neutralized by addition of magnesium carbonate or sodium hydroxide crystals to dilute solution of formaldehyde.

- Neutralization with magnesium carbonate should be done in a wide-mouthed container to avoid explosion that may occur due to the release of carbon-dioxide gas.

2. MERCURIC CHLORIDE (HgCl₂)

- This is a salt soluble in water approximately 7% at room temperature, 53% in boiling water, and 33% in cold alcohol.

- It is used with other fixatives and rarely alone.

Advantages

- Permits brilliant staining of cytoplasm

- Results with metachromatic methods are excellent

- Penetrates and hardens tissue quickly but hardens the outside of the specimen so quickly unless very thin (3 – 5mm) pieces of tissue are used, the centre may not be properly fixed.

Disadvantages

- Extremely poisonous and corrosive to metals

- It causes excessive tissue shrinkage

- It leaves a black precipitate on tissues which must be removed before staining. The mercuric pigment can be removed by using alcoholic iodine.

- It is radio-opaque and therefore unsuitable for tissues to be decalcified in areas where x-rays are used to determine the end-point of decalcification

3. OSMIUM TETROXIDE

Supplied in sealed glass tubing containing 0.5 – 1g

Advantages

- Demonstrates fats (lipids) by fixing and staining them black

- Gives excellent preservation of single cells or minute pieces of tissues and therefore it’s exclusively used in electron microscopy.

- It is the only substance that fixed fat permanently rendering it insoluble to subsequent treatment with alcohol and xylene.

- Preserves golgi bodies and mitochondria well

- Gives brilliant nuclear staining with safranin

Disadvantages: Osmium Tetroxide

- Poorly penetrating agent, only suitable for small pieces of tissue

- After fixation with osmium tetroxide, tissues have to be washed in running tap water to remove excess osmium tetroxide salts

- It is poisonous and may be deposited in the eye causing conjunctivitis and blindness

- It is a very expensive reagent

- Inhibits haematoxylin staining

4. PICRIC ACID (C₆H₂(NO₂)₃OH)

- Highly explosive in dry state and must be kept moist under water.

- Picric acid is a peculiar chemical in that it can be used as a fixative in Bouin’s fluid, a counterstain in Van Gieson and a differentiator in Altiman’s acid fuchsin.

- Picric acid technique is used in demonstration of mitochondria

- It precipitates and combines with proteins to picrates which are water-soluble. To prevent the loss of these picrates, the tissue must be passed directly to alcohol, instead of passing through water.

- It is used in saturated solution of 1% aqueous solution.

Advantages: Picric acid

- Because of the yellow colouration it imparts to tissues, Picric acid is used to locate minute fragments of tissue which might otherwise be overlooked.

- Gives good results with Trichome staining

N/B: Trichome Stains

These are multistage procedures which usually involve three or more stains and aim to differentiate between muscle and collagen e.g. Masson Trichome Method.

Disadvantages: Picric acid

- Very explosive, so must be placed under water

- Stains clothes and hands yellow

3. GLACIAL ACETIC ACID

- It solidifies at 17˚C

- It swells collagen fibres and for this property, it is used in many compound fixative to counteract the shrinking properties of reagents like mercuric chloride

- It does not fix general proteins but precipitates nuclear proteins. It is therefore used in fixation of chromosomes.

- It destroys mitochondria and Golgi apparatus and because of this, acetic acid is rarely used as a cytoplasmic fixative.

6. TRICHLOROACETIC ACID

- It causes swelling of tissues and therefore used in compound fixatives like Heidenhain’s Susa to counteract the shrinking properties of other reagents.

- It may sometimes be used a weak decalcifying agent, but only for very small pieces of tissue or delicate bones.

- Tricholoacetic acid is used as a general protein precipitant

7. ETHYL ALCOHOL (C₂H₅OH)

- It is a colorless liquid readily miscible with water.

- It is used mainly as a dehydrant, occasionally as a fixative mainly used in histochemical methods – particularly for enzyme demonstration and fixing of smears.

- It is frequently incorporated in compound fixatives

- It penetrates tissue slowly except when used in Carnoy’s fluid when fixation is extremely rapid and shrinks and hardens tissues.

- Ethyl alcohol is a reducing agent and should not be mixed with Chromic acid, Potassium dichromate or Osmium tetroxide.

- It is used as a simple fixative at 70-100% preserving glycogen but not fixing it.

- It causes hardening and shrinkage of tissue

- It is a highly flammable solution

- Fats (lipids) are usually dissolved, especially by the high grades of alcohol.

- When used at room temperature, alcohol has a tendency of polarization or streaming effects on one pole of the cell (sending of cell contents to one pole of the cell)

8. CHROMIC ACID (H₂CrO₄)

- It is prepared by dissolving crystals of anhydride Chromium salt (CrO₃) in distilled water and stored at 2% stock solution.

- It is used at 1-2% aqueous solution often in compound fixatives containing Osmium tetroxide or Potassium dichromate.

- It is a strong oxidizing agent and should not be combined with reducing agents e.g. alcohol and formalin.

Advantage

- Precipitates all proteins and is probably the only fixative that preserves carbohydrates rendering them insoluble in water.

Disadvantage

- Tissues fixed in Chromic acid have to be washed well in running tap water to avoid the formation of an insoluble oxide as in the case of Potassium dichromate.

9. POTASSIUM DICHROMATE

- This is one of the oldest and widely used simple fixative.

- It can produce two different forms of fixation depending on the PH of the solution. At less than PH 4.6, the fixation results are as those of chromic acid fixing carbohydrates rendering them insoluble in water. At PH >4.6, the cytoplasm is homogenously preserved and mitochondria is fixed.

- It is frequently used as a constituent of a compound fixative or as 3% aqueous solution and is saturated at approximately 12% at room temperature.

- It fixes certain lipids.

- Tissues fixed must be washed in running tap water prior to dehydration

Advantages

- Gives homogenous fixation of cytoplasm without precipitation

- Preserves lipids and is the usual fixative for mitochondria.

Disadvantages

- Tissues fixed in Potassium dichromate containing fixatives must be washed thoroughly in running tap water before dehydration in alcohols to prevent the formation of an insoluble precipitate.

- Prolonged (days to weeks) exposure of tissues to this reagent caused most tissues to become brittle with consequent difficulty in sectioning particularly if embedded in paraffin wax.

- It dissolves nuclear proteins

COMPOUND FIXATIVES

- These are fixatives consisting of two or more fixing agents in solution

- Compound fixatives are classified according to their action on tissues and cell components.

- These are:

  - Micro-anatomical fixatives – they are general fixatives used for preservation of various layers of tissues.

  - Cytological fixatives – which are subdivided into nuclear and cytoplasmic fixatives. They preserve the constituent elements of the cell although this results in loss of micro-anatomical properties of fixatives.

- MICRO-ANATOMICAL COMPOUND FIXATIVES

- These are fixatives designed to preserve the general tissue layer structures and cells.

- Most of the pathological work require these types of fixatives

b) CYTOLOGICAL COMPOUND FIXATIVES

- These are compound fixatives used when the preservation of intracellular structures or inclusions are of first importance.

- This group is subdivided into two subgroups depending on what structures of the cell are to be acted upon.

  - Nuclear fixatives

Those cytological compound fixatives that fix the nucleus and nuclear elements are called nuclear cytological compound fixatives.

ii.Cytoplasmic fixatives

These are fixatives that fix the cytoplasm and the cytoplasmic elements and are called cytoplasmic cytological compound fixatives

EXAMPLES OF MICRO-ANATOMICAL FIXATIVES

- 10% FORMAL SALINE

  - It is used to fix routine surgical and post-mortem specimens producing good results.

  - Tissue specimens of less than 5mm thick should be fixed in a period of 24-48hrs.

Formula

The fixative contains at least the following:

  - Formalin 10mls

  - Sodium chloride 0.85g

  - Distilled water 90mls

The salt is added to the fixative for isotonicity purposes but not as a fixative.

Preparation

- Dissolve the salt in water then add formaldehyde

- Mix, label and store in a cool dry place

Advantages of 10% Formal saline

- It is suitable for routine surgical and post-mortem specimens

- It causes even fixation

- It can be used to fix gross specimens

- Allows many staining procedures

- Preserves fat and mucin without precipitating them

- Can be used during dissection of animals

- Nearly restores the natural color of tissues

- No washing is required, specimens go straight to processing

- Allows the application of secondary fixatives

Disadvantages

- It is slow in acting (fixing), 24-48hrs.

- Tissues shrink during paraffin wax embedding

- Metachromatia is reduced in amyloid demonstration

- Causes sinusitis and dermatitis

- Leaves pigment in tissues called formalin pigment especially in blood forming organs. The pigments can be removed by using alcohol, picric acid or sodium hydroxide solution

2. 10% BUFFERED FORMAL SALINE PH 7.0

- It is used for fixing and storage of post-mortem, routine surgical and research specimens.

- Fixation should be for 24hrs or more.

- Size of tissue specimen should be equal or less than 5mm.

Fomula

  - 40% Formaldehyde 10 mls

  - Sodium hydroxide phosphate 3.5g

  - Disodium hydrogen phosphate 6.5g

  - Distilled water 90mls

N/B:

Advantages and disadvantages are as for Formal saline except for the formation of formalin pigments which do not form here.

3. MERCURIC CHLORIDE – FORMALIN FIXATIVE

- This is also called Formal sublimate

- It is a mercuric chloride containing fixative

- A quick acting micro-anatomical fixative for routine work. Tissue blocks of up to 10mm are fixed to 12hrs then transferred to 70% alcohol for processing.

- It has an acidic reaction of  Ph 3.2

- It is an excellent fixative for tissue layer relationship

- It preserve the finer cytological details

- RBCs are preserved as well

- Brighter staining results are obtained after fixation of tissues in this fluid especially with acid analine dyes.

- It gives increased metachromatic results with basic analine dyes.

Disadvantages

- Tissues form Mercuric chloride pigments which must be removed before staining.

- It is corrosive therefore should not be stored in metallic containers.

Formula

- 40% Formaldehyde 10mls

- Saturated mercuric chloride aqueous solution 90mls

Mode of Preparation

Mix the above two solutions, label and store in a cool dry place.

4. FORMAL SALINE SUBLIMATE

- This solution is recommended for secondary fixation.

- It is obtained by combining equal volumes of formal-sublimate solution and 10% Formal saline

- Results are similar to those of Formal saline

5. 10% FORMALIN

Formula

- 40% Formaldehyde 10mls

- Water 90mls

Advantages and Disadvantages

Compare with those of Formal saline.

6. HEIDENHAN’S SUSA FIXATIVE

- A micro-anatomical fixative used to fix biopsies and fibrous tumours.

- There’s ease in sectioning due to the softening effect of the fixative (Trichloroacetic acid, TCA).

- After fixation, a sharp and brilliant staining is obtained with acid analine dyes.

- Elastic fibres stain poorly in this fixative

- Tissues are transferred directly to 70% alcohol after fixation for processing

Fixation period is3-24hrs

Note:

Although the fixative has Mercuric chloride, the Mercuric chloride pigment is not always evident. At most times, it is absent.

Formula

- Sodium chloride 5.0g

- Mercuric chloride 45g

- T.C.A 20g

- Distilled water 800mls

- Glacial acetic acid 40mls

- 40% Formaldehyde 200mls

Mode of Preparation

- Dissolve the salt in water, add Formaldehyde then Mercuric chloride, TCA, followed by Glacial acetic acid.

- Mix, label and store in a cool dry place.

Advantages

- Recommended for biopsies, tumors and particularly the skin

- There is a rapid and even fixation with minimum sohrinkage and hardening

- Allows brilliant staining with good cytological details

- Tissues may be transferred to 70% alcohol

- Large fibrous tissue may be sectioned more easily after fixation in this fluid.

N/B: Removal of Mercuric chloride pigment is by use of Lugol’s iodine and Sodium triphosphate for bleaching

Disadvantages

- Tissues should not exceed 10mm thickness as prolonged fixation causes shrinkage, hardening and bleaching of the tissues.

- RBCs are poorly preserved

- May leave a black deposit of Mercuric chloride

- It id impossible to stain elastic fibres by the Veighert’s method after fixation in Susa fixative.

7. ZENKER’S FLUID/ZENKER’S ACETIC ACID/ZENKER’S SOLUTION

- A micro-anatomical  fixative that gives excellent cytological details and brilliant staining with acid analine dyes.

- Tissues must be fixed for 12-24hrs

- They must be washed in running tap water for overnight

- Prolonged fixation makes tissue brittle

- After washing, fixation is followed by 70% alcohol for dehydration, Mercuric chloride pigment will form in tissues fixed and must be removed before staining.

- It is recommended for small pieces of liver and spleen.

Formula

- Potassium dichromate 2.5g

- Sodium sulphate (optional) 1g

- Mercuric chloride 5.0g

- Distilled water 100ml

- Acetic acid 5ml (added just before use)

Advantages

- It is excellent for liver, spleen, connective tissue fibres and nuclei

- Gives fairly rapid and even fixation

- Gives excellent results with trichome methods

Disadvantages

- Tissues should not exceed 0.5mm in thickness

- Tissues tend to brittle if left in the fixative for more than 24hrs

- After fixation, tissues must be washed thoroughly in running tap water to remove excess salts

- Leaves a deposit of Mercuric chloride

- Penetrates tissue poorly

- Not stable after addition of Acetic acid

- Not recommended for frozen sections

8. HELLY’S FLUID/ZENKER’S FORMAL/HELLY’S FORMAL

- It is both a micro-anatomical and cytological fixative particularly useful for preservation of liver biopsy, bone marrow, pancreas, pituitary glands and lymph nodes.

- Cytoplasm and cell nucleus are well preserved.

- The Potassium dichromate in this solution is not acidic but is alkaline and will fix all the above and lipid.

- Thin pieces of tissue are required and will be fixed in 24hrs

- Formaldehyde is also added instead of Acetic acid in Zenker’s solution

- Fixed tissues are transferred to 70% alcohol after washing overnight in tap water.

- The Mercuric chloride pigment can be removed from tissues before staining.

Formula

- Potassium dichromate 2.5g

- Sodium sulphate (optional) 1g

- Mercuric chloride 5g

- Distilled water 100ml

- 40% Formaldehyde 5ml (added just before use)

Advantages and Disadvantages

Compare with those of Zenker’s fluid

9. BOUIN’S FLUID

- Both a micro-anatomical and a cytological nuclear fixative

- It preserves glycogen and embryos

- Required fixation time is 3-24hrs. Tissues fixed must not be more than 1cm thick

- Fixed tissues must be transferred directly to 70% alcohol, the treatment of which renders the picrates insoluble.

Note:

  - Though useful for the preservation of glycogen, Gendre’s fluid is preferred for glycogen. The yellow coloring is due to Picric acid and may be removed from tissues by using 1.5% Sodium thiosulphate before staining of the sections.

  - Kidney tissues must not be fixed in this fluid for they will be poorly preserved.

Formula

- Saturated aqueous Picric acid 75mls

- 40% Formaldehyde 25mls

- Acetic acid 5mls

Advantages

- Recommended for embryos

- Produces little micro-anatomical cell distortion

- Preserves glycogen

- Permits brilliant staining results

- Useful for minute fragments of tissue as the yellow color given by the Picric acid to the tissues makes it easier to locate specimens.

- Tissues may be transferred directly to 70% alcohol

Disadvantages

- Poor penetrating power and therefore useful for small pieces of tissue only

- Picrates formed during fixation are water soluble

- Kidney is badly distorted and should never be stored in Bouin’s fluid.

- Cytoplasmic structures like mitochondria are distorted or dissolved.

10. GENDRE’S FLUID

It is a general micro-anatomical fixative which is also widely used for the preservation of glycogen.

Formula

- Glacial acetic acid 5ml

- Picric acid saturated in 95% alcohol 80ml

Conc. Formaldehyde 40% 15ml

Advantages

- Similar to those of Bouin’s fluid

- The mixture of alcohol and high Picric acid content makes the fixative the best for preservation of glycogen.

- After fixation, tissues are washed in several changes of 80% alcohol.

Disadvantages

Similar to those of Bouin’s fluid

CYTOLOGICAL COMPOUND FIXATIVES

- These are compound fixatives used when the preservation of intracellular structures or inclusions are of first importance.

- They are subdivided into two depending on what structures of a cell are to be acted upon.

- Nuclear cytological compound fixatives

Are those that fix the nucleus and nuclear elements e.g. Carnoy’s, Flemming’s and Clark’s fluid.

b) Cytoplasmic cytological compound fixatives

These are fixatives that fix the cytoplasm and the cytoplasmic elements e.g. Muller’s, Orth’s and Schaudinn’s fluids.

NUCLEAR FIXATIVES

- FLEMMING’S FLUID (minus acetic acid)

Formula

  - 1% Chromic acid 15mls

  - 2% Osmium tetroxide 4mls

Note:

- Fixation time is 24-48hrs

- A cytoplasmic fixative should not contain Glacial acetic acid because Golgi elements and mitochondria are destroyed but Osmium tetroxide is used commonly for their demonstration.

Advantages

- Demonstrates and fixes fats permanently

- Only small amount of fixative is required i.e. 5-10 times the tissue bulk

- Omission of Acetic acid improves cytoplasmic details especially mitochondria.

- Excellent for fixation of nuclear elements especially chromosome

Disadvantages

- There’s poor penetration of tissues often with blackening of the outside of the tissue while the centre is not fixed.  Because of this, only small pieces of tissue should be used.

- Tissue fixed need overnight washing in running tap water to remove excess chrome salts

- The solution does not keep long

It is very expensive

2. REGAUND’S FLUID

Formula

- 3% Potassium dichromate

- 40% Formaldehyde

- Required time of fixation is 12hrs

Advantages

- More penetrating than the Chrome-Osmium tetroxide fixative

- Mitochondria and yolk are preserved well

Disadvantages

- Fat is not preserved

- Need post chroming

- Need washing in running tap water for 24hrs before dehydration

- Deteriorates rapidly and should be mixed immediately before use.

3. MULLER’S FLUID

Formula

- Potassium dichromate 2.5g

- Sodium sulphate 1g

- Distilled water 100ml

Advantages

- More penetrating than the Chrome-Osmium tetroxide fixative

- Preserves mitochondria and yolk

Disadvantages

Similar to those of Regaund’s fluid

4. ORTH’S FLUID

Formula

- Potassium dichromate

- Sodium sulphate

- Distilled water

- Add 10ml of 40% Formaldehyde just before use

- It is the best fixative for the demonstration of chromatin granules in case of Phaechromocytoma (a tumor of the adrenal medulla)

Advantages and disadvantages are as for Muller’s fluid except for the need of post-chroming

5. CHAMP’S FLUID

Formula

- 3% Potassium dichromate

- 1% Chromic acid

- 2% Osmium tetroxide

Advantages

- Preserves mitochondria, Golgi elements, and demonstrates fats.

- Only a small amount of fixative is used (5-10 times of the tissue bulk)

Disadvantages

Same as for Flemming’s solution

6. HELLY’S FLUID

This is synonymous with Zenker’s formal

SPECIAL FIXATIVES

The fixatives to be discussed in this section are:

    - Histochemical fixatives

    - Vapuor fixatives

    - Fixatives for exfoliative cytology

- HISTOCHEMICAL FIXATIVES

- Are fixatives used to preserve lipids (fats) and enzymes in tissues.

- The most commonly used fixatives are

i. Buffered Formal Saline

The tissues must be thoroughly fixed and washed well in tap water before cryostat sections are cut.

ii.Cold Acetone at 4˚C

This fixative gives very good results particularly in cases for the demonstration of phosphatases.

iii.Cold Absolute Alcohol

This is good for fixation of sections cut from freeze dried tissues.

Qualities of a Good Histochemical Fixative

- Should preserve the constituents to be demonstrated

- Bind or preserve the specific tissue components without affecting the relative groups to be used in its study

- Not to affect the reagents to be used in the process of treatment.

Essentials of Fixation

- To start fixation immediately

- Volume of fixative must exceed that of tissue by at least 20-50 times except for Osmium tetroxide containing fixative which require only 5-10 times the tissue block.

- Required time for fixation should not be exceeded, specimens to be kept for any length of time should be kept in 10% Formal saline or Kaisserling solution.

- Use correct fixative for the respective technique

- Some fixatives require thorough washing to remove excess salts and some need treatment to remove  pigments before staining.

2. VAPOUR FIXATIVES

- Are fixatives that are used for fixing cut sections of fresh tissues, thin blocks of freeze-dried tissues and cytological smears.

- The three common Vapour fixatives are:

  - Formaldehyde

    - Vapour is obtained by heating Para-formaldehyde at temperatures between 50-80 ˚C

    - Blocks of tissue require 3-5hrs of fixation at 50-60 ˚C

- Tissue sections require 30 min fixation

ii. Acetaldehyde

The tissue is exposed to it at 80 ˚C for 1-4 hrs

iii. Glutaraldehyde

The tissue is exposed to it at 50 ˚C for 2min to 4hrs depending on the thickness of the tissue

3. EXFOLIATIVE CYTOLOGY FIXATIVES

This are discussed under Exfoliative cytology

FIXATION OF GROSS (WHOLE) SPECIMENS

- Hollow organs e.g. Stomach

This should be packed with absorbent cotton wool saturated with fixative. The entire specimen is then immersed in a sufficient quantity of fixative.

- Skin and Intestines

Intestines should be opened along its entire length and flattened out, immersed upper most. Both skin and intestines should be pinned out on corks, mats or boards and floated face down in the fixative.

When using Mercuric chloride containing fixative metal pins should not be used as they are corroded by the salt. Wooden, silver or hedgehog’s spines or porcupine quills should be used.

3. Kidney and Liver

The fixative must be injected into the arteries, the vessels and veins tied off full. The specimen either lying on thick cotton (absorbent cotton wool) or suspended thread tied to the vessels is then immersed in enough volume of fixative.

4. Lungs

This will normally float on the surface of the fixative because they contain air spaces. To overcome this, the lung must under the surface by some means.

Lungs may be filled with fixative by injecting the fluid into the bronchus and tying them off when fully distended.

5. Eye

Because of the tough sclera, fixative do  not penetrate readily into the eyes, thus should be injected with the fixative then immersed into it.

6. Bone Marrow

Small quantities of bone marrow should be placed in conical centrifuge tubes containing Zenker’s Formal. After fixing for 2hrs the tube is span. The compact deposit is preserved in the normal way.

7. Brain

Whole brain should be suspended by a cord passed under the basilar artery. This prevents the flattening of the organ where it should rest on the bottom of the jar. Brain being dense takes time to fix properly.

8. Spinal Cord

The dura should be opened along the entire length of the specimen and cord should then be suspended in a tall jar with the bottom end wetted to keep the cord stretched out straight. This prevents shrinkage.

FIXATION ARTIFACTS

These are artificial pigments produced in the tissue during fixation. Some common artifacts are:

- Formalin Pigment

  - It is also  called formaldehyde haematin.

  - It appears as brown granules common in post-mortem tissues.

  - The pigment is maximal around the blood vessels and in congested tissues.

  - It can be avoided by using neutral formal saline or buffered formalin at PH 7

  - Formalin pigment can be removed from tissues by Barret’s method.

Barret’s Method (Saturated Alcoholic Picric acid method)

Procedure

  - Bring sections to water

  - Rinse with absolute ethanol

  - Flood the section with saturated Picric acid for 5-10 min

  - Wash with 95% ethanol to remove the yellow color under the microscope.

  - Wash with tap water and proceed with the required stain.

2. Mercuric chloride pigment

- This is a dark-brown to black pigment found in sections of tissues fixed with Mercuric chloride containing fixative.

- It is uniformly distributed in tissue sections and can be removed from the tissue during processing by adding 0.25% Sodium iodide in 80% ethanol used for dehydration.

- The pigment is removed by converting Mercuric chloride into Mercuric iodide, which is water soluble.

- For the removal of the pigment from the sections Iodine sodium thiosulphate method is used.

Iodine Sodium Thiosulphate Method:

  - Bring sections to water

  - Place the sections in 0.5% iodine in 80% ethanol for 10 min (Gram’s or Lugol’s iodine)

  - Rinse the sections in tap water

  - Place the sections in 2.5% Sodium thiosulphate for 3min

  - Wash in running tap water for 2min

  - Proceed with the desired stain

3. Chrome Deposits

- These are deposits found in tissues fixed in fixatives containing Potassium dichromate.

- They are fine brown black granules

- Removed by washing sections in running tap water

- Alternatively wash in 1% Acid alcohol followed by thorough washing in water.

- Proceed with the desired stain

4. Pink Disease Artifact

- This is observed in tissue rapidly fixed in buffered Formal saline

- Common in lymphoid and epithelial cells

- It is characterized by the nuclei failing to stain with Haematoxylin. Instead the nuclei take up Eosin and appear pink.

- This artefact can be avoided by adding 2% acetic acid to the fixative or by treating the dewaxed tissue sections in 1%HCL in absolute ethanol for 1hr before staining with haematoxylin and eosin.

Preparation of 10% Formal saline, 1 L.

Formula

- Formalin 100ml

- Sodium chloride 8.5g

- Distilled water 900ml

Preparation

- Dissolve the salt in water then add Formalin

- Mix, label and store in a cool dry place

DECALCIFICATION

- This is the complete removal of calcium from the normally calcified and the pathologically calcified tissues to facilitate easy sectioning of the tissue.

- Examples of normal calcified tissues are bone, teeth, bone marrow and pinna of the ear.

- Examples of abnormally calcified tissues are calcified thyroid glands, calcified artery, calcified lymph nodes, calcified chronic tuberculosis (focci) of the lung and calcified scar formed as a result of deposition of necrotic tissue whereby the calcium salts in it accumulates and hardens.

- Calcium salts are found in the form of Calcium carbonate, Calcium phosphate and Calcium chloride in the tissue.

Note:

Incomplete removal of calcium results in:

- Torn and rugged sections

- Damaging of the cutting edge of the microtome knife.

Purposes of Decalcification

- To make the tissue soft

- To avoid damage of the knife cutting edge by the calcium focci (particles).

- To make the cellular structure readily visible because the presence of calcium masks the tissues.

Criteria of a Good Decalcifying Fluid

- Complete removal of calcium salts

- Absence of damage to the tissue cells or fibres

- Non-impairment of subsequent staining techniques

- Reasonable speed of decalcification

SECTIONS OF TISSUE FOR DECALCIFICATION

- Teeth and Bone

Small pieces are cut out (3-5mm) using a fine toothed bone-saw or hack-saw or trimmed with a fret saw.

2. Calcified Tissue

- The tissue is trimmed using a sharp knife or scalpel.

- Trimming of tissues for decalcification to the size of 3-5mm will enable the decalcifying fluid to penetrate it easily.

- Fixation of urgent tissues for decalcification may take up to 2hrs in 10% Formal saline and the fixation time is up to 48hrs

- Formal sublimate fixative is good as a primary fixative but it causes the tissues to be radio-opaque, preventing the use of the x-ray method for the assessment of the end point of decalcification.

- Formal sublimate gives good results if it is used as a secondary fixative after decalcification with bright nuclear staining.

- Secondary fixation brings about brilliancy in the cell nucleus.

- Decalcification process is accomplished by immersing tissue pieces e.g. bone in a decalcifying fluid. This is done by suspending the tissue in the fluid from a string.

- The string must be waxed to avoid digestion by the acidic fluid.

Period of Decalcification

- Decalcification can be enhanced at higher temperatures at 37 ˚C for urgent biopsies. The amount of fluid used is 30-50 times the tissue bulk.

- Incase of less than 18 ˚C room temperature, decalcification can be carried out in a container with 30-50 times volume of tissue and placed at 25 ˚C water bath.

- The concentration of the decalcifying fluid affects the speed of decalcification. Higher concentration shortens the time while lower concentration requires longer time.

Note:

- Tissues must be removed from the fluid soon after complete decalcification. Over decalcification leads to maceration of tissues that may lead to poor staining and may not improve the staining qualities.

- The only exception where over-decalcification does not lead to poor staining is the use of chelating agent EDTA

- Trichloroacetic acid has both fixing and decalcifying properties.

METHODS OF DECALCIFICATION

- Mineral acids

- Chelating agents (a chelating agent is a chemical compound that forms complexes by binding mineral ions)

- Ion exchange resins

- Electrophoresis

- MINERAL ACIDS

Examples of dilute mineral acids used for decalcification are:

- Nitric acid-Formaldehyde

Formula

Nitric acid (S.G. 1.14) 5-10mls

Formaldehyde 40% 5-10mls

Distilled water 100mls

This is a quick acting reagent for urgent biopsies and has a decalcifying time of 1-3 days.

Advantage

It is quick acting decalcifying fluid permitting good nuclear staining.

Disadvantages

- Caused damage to tissue when used in high concentration

- Only suitable for rapid decalcification of small pieces of bone.

- Inhibits nuclear staining if its application is prolonged. Nuclear staining is not as good as in the slow acting fluids. Nitric acid forms a yellow color in the fluid due the formation of nitrous acid which spreads the rate of decalcification resulting in cell distortion and poor staining. The effect of nitrous acid can be stopped by addition of 0.1% urea to the original decalcifying fluid.

2. Aqueous Nitric acid

A rapid acting decalcifying solution recommended for routine use.

Formula

Nitric acid 5-10 mls

Distilled water 100 mls

Decalcification time is 12-24 hrs

Advantages

- It is a rapid decalcifying fluid

- It caused less damage to the tissue and gives better staining results of nucleus than does formal nitric acid.

- Tissue is passed directly to avoid to 70% alcohol to remove the acid.

Disadvantage

Are like those of Nitric acid –Formaldehyde. Therefore the decalcifying time must be carefully controlled to avoid tissue damage.

3. Formic acid

- Recommended for post-mortem and research specimens

- Required time is 2-7 days

Formula

Formic acid (S.G. 1.20) 5 mls

Formaldehyde 40% 5 mls

Distilled water 90 mls

Advantage

Permits best nuclear staining results and is good for routine work

Disadvantage

Slow decalcifying agent therefore unsuitable for urgent work. This is because of the low concentration of Formic acid resulting in slow reaction.

- TRICHLOROACETIC ACID

  - Used for small pieces of bone tissue requiring decalcification.

  - Required time is 4-7 days

Formula

10% Formal saline 95 ml

Trichloroacetic acid 5 ml

Advantages

- Permits good nuclear staining

- It is removed by alcohol therefore does not require washing out in water.

Disadvantages

- It is slow acting and only recommended for small pieces of bone tissue.

- It is not recommended for dense bone.

5.  CITRATE – CITRIC ACID BUFFER (PH 4.5)

  - Recommended when speed is not an important factor

  - Required time is approximately 6 days and solution must be changed daily.

Advantage

Produces no damage to tissue or cell and permits excellent staining results.

Disadvantage

Too slow for routine work

- GOODING AND STEWART’S FLUID

Formula

  - Formic acid 2-25 ml

  - 40% Formaldehyde 5 ml

  - Distilled water 100 ml

Decalcification time is 2 – 7 days

- PERENY’S FLUID

Formula

  - 10 % Nitric acid 40 ml

  - 0.5% Chromic acid  30 ml

  - Absolute Ethyl alcohol 30 ml

  - Decalcification time is 2 – 10 days

- Solution is yellowish when freshly prepared but assumes a clear violet color later.

Advantages

  - It is a gently decalcifying agent, probably due to the presence of chromic acid and the alcohol suppressing maceration of tissue.

  - No hardening occurs in tissues treated in Pereny’s fluid. It is used as a softening agent before dehydration for dense fibrous tissues.

  - It allows good nuclear staining and cytoplasmic details.

  - It is recommended for routine decalcification

  - Tissues do not require washing in water when decalcification is complete but may be transferred directly to several changes of 70% alcohol.

Disadvantages

  - It is slow acting therefore unsuitable for urgent work.

  - Chemical test can not be used to determine the endpoint of decalcification because a precipitate is formed when ammonia is added to Pereny’s fluid even in the absence of calcium ions (salts). This is overcome by adding glacial acetic acid to the solution after adding ammonia.

Add drop by drop of the acetic acid till the turbidity disappears then proceed as usual.

- VON – EBNER’S FLUID

Recommended for teeth and the required time is 2 – 5 days.

Formula

- Conc Hydrochloric acid 8 ml

- Saturated Sodium chloride (aq. 36%) 50 ml

- Distilled water 50 ml

Advantages

  - It is fairly rapid in action

  - Permits reasonable nuclear staining

  - Recommended for teeth

  - It may be dehydrated without washing the acid first in 90% alcohol.

Disadvantages

  - Nuclear staining is not as good as that obtained after using Formic acid.

  - Chemical methods cannot be used to ascertain the endpoint of decalcification

- ION-EXCHANGE RESINS

- An ion exchange resin (ammonium form of polystyrene resin like Zeokarb 225) is commonly incorporated with a non-mineral acid like Formic acid.

- The resin removes the calcium ions from the decalcifying fluid ensuring a more rapid rate of solubility of calcium from the tissues and a reduction in time of decalcification.

- The chemical means of end point decalcification cannot be used here because the resin takes up all the calcium ions from the decalcifying fluid thus rendering the fluid free of calcium ions at all times.

- Radiological (x-rays) method can be used.

N/B:

- To regenerate the resin, have two baths washing of resin of 0.1N HCl followed by washing in water.

- CHELATING AGENTS (EDTA)

  - Chelating agents are organic compounds which have the power to bind certain metals e.g. EDTA with Disodium salt.

  - Tissues decalcified in this fluid show minimum of artefacts.

Formula

EDTA 5.5 g

10% Neutral formalin 100 ml

Advantages

  - Histological artifacts are minimized by the solution, there being no carbon dioxide bubbles produced to destroy the pattern of remaining organic materials.

  - It allows good staining results

  - End point of decalcification can be tested chemically

Disadvantages

  - It is extremely slow and therefore unsuitable for urgent specimen.  - Decalcification time being 7 -12 days.

  - Chelating agent tend to harden tissue slightly.

N/B

  - The fluid should be changed daily. At end point of decalcification, the tissue is washed in running tap water for 4-6 hrs. then processed normally.

  - In addition to calcium salts, other salts removed are iron and magnesium deposits. Required time is 7-12 days. It is the best method of decalcification of tissues

- ELECTROLYSIS

  - In this method, calcium salts (ions) are removed from the tissue by electrolyte (solution of HCl and formic acid medium for the decalcification of bones) and gets attracted to the negative electrode (cathode).

  - This method is no longer used for routine decalcification because of being cumbersome as well as posing the risks of burning (charring) the tissues by the coils.

METHODS OF DETERMINING THE END POINT OF DECALCIFICATION

  - X-rays (Radiological methods)

  - Mechanical methods

  - Chemical methods

1. X –RAY (RADIOLOGICAL METHOD)

- It is the method of choice but cannot be used with tissues fixed in Mercuric chloride fixative as it is radio-opaque.

- The method is very expensive

- MECHANICAL METHODS

  - This includes the probing of tissues with a fine needle and bending of the tissue.

  - The needling procedure may cause and artifacts and small foci of calcium may not be detected especially in the centre of the tissue.

- CHEMICAL TESTS

  - Relies on the detection of calcium in the decalcifying fluid. When no further Calcium are detected, decalcification is complete.

  - During decalcification, the fluid should be changed every 24 – 48 hrs, 24 hrs being the best during early stages. The test is performed on the fluid about to be discarded.

TECHNIQUE OF CHEMICAL TESTING

  - Put 5ml of used decalcifying fluid into a clean (chemically) test tube.

  - Add a small piece of blue litmus paper which turns red due to the acidity of the decalcifying fluid.

  - Add strong ammonia drop by drop until the litmus paper turns blue indicating alkalinity. If the solution goes cloudy due the Calcium hydroxide, decalcification is not complete and it is not necessary to proceed further.

  - If the solution remains clear, add 0.5ml of ammonium oxalate and let stand for 30 min.

  - If turbidity forms due to formation of Calcium oxalate, then decalcification is incomplete and the tissue requires further decalcification.

  - If the solution remains clear, decalcification is complete.

Note:

  - When using the chemical method of assessment of the end point of decalcification, avoid using tap water in the preparation of the decalcifying fluids. This is because the tap water may contain calcium salts which will give false positive results in the absence of calcium. Use distilled water.

SURFACE DECALCIFICATION AND SOFTENING OF HARD TISSUES

  - Difficulties are often encountered in sectioning due to hardness of the tissue, or due to an unexpected calcium focci.

  - This can be a major problem in autopsy specimens causing considerable damage to the edge of the microtome knife.

  - These problems are however overcome by using the following reagents.

1.  Pereny’s fluid

  - The fluid was originally used to soften hard tissues and remove small deposits of calcium before it came into use as a general decalcifying fluid.

  - Fixed tissues are left in the fluid for 12-24 hrs and then dehydrated in the same manner or the cut surface of the block may be submerged in the fluid for an hour or two before sectioning.

2. Mollifex

- The reagent is used to soften hard tissues in the block.

- It will also work on deposits of calcium.

- The cut surface of the block is immersed in the reagent for a few hours before cutting. The tissue may swell slightly and have a soapy look on it, but this does not have any effect on subsequent staining of the section.

TRIMMING OF DECALCIFIED TISSUES

- When tissues are decalcified, they can easily be trimmed with a sharp knife.

- If hard, dense bone was previously cut with a saw, then surface of the block should be removed as bone dust will otherwise a false histological picture

PROCESSING OF DECALCIFIED TISSUE

  - The tissues are normally processed in the routine manner i.e. dehydration in alcohol, clear in xylene, impregnated in molten paraffin wax and embedded in molten paraffin wax.

  - Peterfy’s double embedding is recommended for large pieces of bone tissues.

STAINING OF DECALCIFIED TISSUES

  - After using chelating agents like EDTA, the usual staining time in Haematoxylin and Eosin gives good result.

  - After using acids for decalcification, sections may fail to stain with Alum haematoxylin with the normal 7-10 minutes. In such cases, either use Alum haematoxylin diluted 1:5 and leave the section in the solution for 16-24 hrs or use Celestine blue Alum haematoxylin sequence for 10 minutes. The later method gives the best staining results of acid decalcified tissue sections.

  - Decalcification may be speeded by raising the Formic acid content to 25mls (as in Gooding and Stewart’s fluid) but this results in opacity to the decalcifying fluid which hinders the detection for the end point of decalcification by the chemical method.

  - However, this can be diluted and the test carried out though the results obtained are not as good as those obtained when undiluted fluid is use

TISSUE PROCESSING

Definition:

  - Tissue processing is the treatment of tissues with various reagents to enable the production of thin sections. These thin sections allow light to go through, therefore enabling the examination of the tissue sections under the microscope.

  - Like fixation, there is no perfect processing technique and so there are several techniques utilizing different reagents each with its own advantages and limitations.

  - Tissue processing involves dehydration, clearing (de-alcoholization) and impregnation(This is the process of completely saturating the tissue with the medium to be used for embedding (arranging the impregnated tissue in a precise position in a mould containing the embedding medium allowing them to solidify)

PROCESSING TISSUES

1. Precise identification of the specimen (labelling)

  - This should be ensured at all stages by the use of suitable labelling.

  - This may be effected by written, penciled, or carbon wax slip of paper or thin card which is carried through with the specimen in the container.

2.  Small fragments of tissue e.g. endometrial curettings or friable materials.

  - This should be placed in a piece of filter paper or curetting baskets to avoid losing them during processing or contaminating other specimems.

3. Glass stoppered containers

Wide-mouthed jars are preferable to narrow neck-corked tubes for manual tissue processing and the volume of reagent used should at least be 20-50 times that of the specimen.

4. Identification of the surface of the block

  - The surface of the block to be cut should be identified by cutting a V-shaped notch or applying Indian ink on the opposite side.

5. Duration of processing

In determining the duration of the various stages of processing, the following must be considered. The consistency of the tissue for example a piece of kidney needs less time than a piece of bone.

- DEHYDRATION

  - This is the removal of all traces of water from tissue specimens by treating them with various reagents e.g. ethyl alcohol.

  - The purpose of dehydration or removal of water from tissue specimens during histological processing is because water is immiscible with subsequent processing reagents e.g. xylene for clearing and paraffin wax for filtration.

  - The process of dehydration is carried out in stoppered glass jars or in glass beakers.

  - The range of dehydrating reagents varies between 50%, 70%, 90% up to absolute alcohol (three changes each bath)

  - The purpose of gradual dehydration of tissue specimens in varying and increasing concentrations of the dehydrant is to avoid shrinkage and cellular distortion.

  - The various reagents that can be used for dehydration are:

    - Acetone                            4. Absolute methanol

    - Cellosolve                        5. Butyl alcohol (butanol)

    - Iso propyl alcohol          6. Pyridine

7. Dioxane

Note:

  - It is important that the tissues receive enough time in each bath of alcohol concentrations. Insufficient time will lead to imperfect infiltration with molten paraffin wax at a later stage.

  - The last jar of dehydrant is layered with 1/4 – 1/2  inch of anhydrous copper sulphate to detect any presence of water. If water is present, it will turn blue, thus Copper sulphate is an indicator in this process.

DEHYDRATING AGENTS

- Acetone

  - It acts rapidly and causes shrinkage.

  - It evaporated fast and is unsuitable for quick processing of small specimens.

  - Butyl alcohol (Butanol)

It is a slow dehydrant which is miscible with paraffin wax.

- Dioxane

  - It is not used routinely

  - It is both miscible with paraffin wax and water.

  - It causes little shrinkage of tissues and its fumes are extremely toxic in confined spaces.

  - It does not allow good ribboning of sections

- Ethyl alcohol

  - This is the best dehydrant

  - It is used in concentrations of 50%, 70%, 80%, 90% and absolute alcohol.

  - However, it is expensive.

  - Iso propyl alcohol (propanol)

  - It is often used as a substitute for ethanol

  - It is not used for celloidin techniques

  - It is cheaper than ethanol.

Other dehydrants are Cellosolve and Pyridine.

    - Dehydration is also applied in some staining methods to denote the removal of water from tissue sections by mounting.

Again alcohol is normally used, the wet section being drained or blotted, taken to several changes of absolute alcohol (ethyl alcohol), transferred to a clearing agent usually xylene and mounted

CLEARING (DE-ALCOHOLIZATION)

- After dehydration of tissues with various dehydrants, it is necessary to mix or treat them with a substance that mixes with both the dehydrant and paraffin wax which will in turn be eliminated in the process of wax impregnation or infiltration.

- The process is known as clearing because most but not all reagents for this purpose raise the refractive index of tissues, thereby rendering them more or less transparent.

- Clearing reagents are mostly volatile, toxic and flammable.

- Therefore clearing is not making the tissues clear as the title implies but the replacement of the dehydrant with a substance that is miscible with the impregnating/embedding medium used, though some clearing agents raise the refractive index.

- Clearing agents should be kept in containers with well-fitting lids and exposure to vapour avoided.

| Reagent | S. G. | Boiling Point (˚C) |
| --- | --- | --- |
| Xylene | 0.863 | 140 |
| Benzene | 0.879 | 80 |
| Toluene | 0.866 | 110 |
| Chloroform | 1.489 | 61 |
| Cedar wood oil | 0.927 | 168 - 237 |
| Legroin |  |  |
| Aniline oil |  |  |
| Clove oil |  |  |

- XYLENE

It clears tissues up to 5mm thick in 1/2  hr

Advantages

- It a rapid dealcoholization agent, probably the most rapid of them all.

- It does not dissolve celloidin.

- It does not extract aniline dyes (benzene derivatives used in histology as a dye solvent e.g. acid fuchsin in Altiman’s techinique for mitochondria, crystal violet in Gram’s iodine method for micro-organisms.

- Easily eliminated by molten paraffin wax.

- Cheap to buy

- Makes tissues transparent

- Used to dissolve wax from sections during staining

- Solvent for D. P. X. and Canada Balsam

N/B:

D. P. X. = Distrene (a polystyrene), a plasticizer (tricresyl phosphate) and xylene.

Disadvantages

- Very flammable

- Causes tissue shrinkage and hardening (brittle) if tissues are exposed for too long.

- It will only clear from absolute alcohol

- It has a tendency to go acidic in partially filled vessels.

2. BENZENE

- Clears up to 5 mm thick in 1-3 hrs

- It is a cheap and flammable reagent

- Its vapour is dangerously toxic and carcinogenic – hence should be used in a well ventilated laboratory.

Advantages.

- It is fairly rapid in action

- Does not make tissues brittle as does xylene and toluene

- Caused minimum shrinkage

- Easily eliminated by molten paraffin wax.

3.Chloroform

- It clears tissues upto 5mm thick in 12-24 hrs.

- It is very expensive reagents widely used for brain and bone tissues.

- It the only non-flammable clearing agent.

- It is considerably slower in action but has little hardening effect on tissues.

- It does not make tissues transparent

- It attacks rubber making it brittle.

Advantages

  - It is very tolerant and does not harden tissues as does Toluene and Xylene.

  - It is recommended for tough tissue like the skin, fibroid and decalcified specimens

  - It is extremely useful for large specimens

Disadvantages

  - It does not make tissues transparent

  - The tissue tends to float on the chloroform and so it must be held or kept in a tissue basket to provide weight for it to sink.

  - It is not easily displaced by paraffin  wax.

4.CEDAR WOOD OIL

Clears tissue up to 5 mm thick in 2-3 days

Advantages

  - It clears readily from 95% alcohol

  - It is very tolerant, producing little or no shrinkage and brittleness even if the tissue is left in the reagent indefinitely.

  - It does not extract analine dyes

  - It is a thin fluid specific for clearing

  - Good for CNS tissues

  - Makes tissues transparent

  - Complete dehydration is not necessary

  - It clears celloidin section in 5-6 days

Disadvantages

  - It is difficult to be removed by paraffin wax

  - It is too slow for routine purposes

  - It is too expensive for routine use as a clearing agent

  - It solidifies to form needle-like structures in the presence of acetic acid and other impurities.

5.CARBON TETRACHLORIDE

Clears up to 5 mm thick in 8 – 15 hrs

Advantages

  - It is very tolerant and does not harden tissues as does toluene or xylene.

  - It is recommended for tough tissues like the skin, fibroids and decalcified specimens.

  - It is extremely useful for large specimens

Disadvantages

- It is extremely toxic in enclosed spaces

- It does not make tissues transparent

- Tissues tend to float on carbon tetrachloride and must be held under the surface by some means, usually by absorbent cotton gauze.

6.LEGROIN

It Clears tissues up to 5 mm thick in 12 hrs.

Advantages

  - It does not harden tissues as does toluene or xylene

  - It is easily eliminated by paraffin wax.

Disadvantages

  - It does not make tissue transparent

  - It is slow in action therefore not recommended for routine work.

- ANILINE OIL

  - Not normally used as a clearing agent in a routine histological lab.

  - It is more often used in clearing embryos and insects.

  - Aniline oil could be used to advantage with extremely delicate specimens.

  - Its main advantage is that it can clear from 70% alcohol and that it does not cause shrinkage or hardening of tissues.

3 . INFILTRATION (IMPREGNATION)

- It is the treatment of tissues that have been cleared.

- The clearing reagent is displaced by molten paraffin wax or the medium to be used for embedding which infiltrates the tissues.

MOLTEN PARAFFIN WAX

- The molten paraffin wax penetrates into the tissues to provide “internal support” when the wax solidifies. The other reason for infiltration of tissues is to displace the clearing reagent used in the previous stage.

- Three to four changes of molten paraffin wax may be used to ensure complete infiltration and displacement. Each change averages three hours.

- The type of embedding medium (paraffin wax) chosen for infiltration of tissues depends upon the following factors

  - The temperature of the working medium

  - The nature of the tissue to be infiltrated

  - The thickness of the section required

- The hardness of the paraffin wax depends upon the melting point of the wax.

- Wax with melting points of 45-50 ˚C are soft waxes. Waxes with melting points of 54-60 ˚C are hard waxes.

- Ester wax is the only exception, it has a melting point of 45-48 ˚C but sets to become harder than wax with melting point of 56 ˚C

- Wax with melting point of 56 ˚C is recommended for routine histological work.

- Paraffin wax is obtained as a by-product during oil processing and filtered, but can be re-filtered just before use with Watman’s filter No. 1

- Recently there have been substances added to ordinary paraffin wax e.g. synthetic rubber with the aim of improving the consistency and cutting qualities of paraffin wax.

Examples are:

  - Fibrowax

  - Paraplast

Both have a melting point of 56 ˚C

These improved waxes have the following properties:

- Produce good ribboning of sections

- Have good superior cutting qualities

- No crystallization on setting

- No cooling of blocks during cutting.

- Do not form deposit of wax in sections

- No wrinkling of cut sections

- Have a melting point of 56 ˚C (i.e. the additives do not change the melting point).

- Other impregnation methods are celloidin, gelatin, agar and Low Viscosity Nitrocellulose (LVN).

- The molten paraffin wax used for infiltration and embedding must be kept in the electrically heated, thermostatically controlled temperature oven or bath.

- These baths can be eater jacketed and should be kept at 2 ˚C to 3 ˚C above the melting point of wax used.

- The molten wax should never contain water or moisture and this is detrimental to proper filtration of tissues.

Properly cleared tissues are immersed in this molten paraffin wax and a number of baths may be used. The duration of treatment required in each change will depend on the following factors:

- The density of the tissue being processed e.g. the denser the tissue, the longer the time required, thus the brain requires longer time than the lung.

- The size of the tissue: the thicker the tissue the longer the time e.g. a tissue of 5mm thick will take a shorter time than that of 10mm thick.

The type of clearing reagent used e.g. xylene will take a shorter duration as it is very volatile, while cedar wood oil will take a longer time to be displaced.

Note:

- It is important that temperature be controlled at regular levels to avoid shrinkage or hardening of tissues which are caused by high temperatures – shrinkage and hardening should be avoided.

- Clearing reagents like cedar wood oil are difficult to displace completely. It is advisable to treat the tissue in a bath of mixture of wax and benzene 50/50 for 30 min before transferring the tissue into a bath of wax.

- Inadequate infiltration should also be avoided as it will result in shrinkage of tissues followed by falling off of tissues from the block. It will also cause crumbling of sections because of incomplete displacement of the clearing fluid/reagent.

THE VACUUM PUMP INFILTRATION

- The pump is made up of brass and has a glass lid with a rubber washer to make an air tight seal.

- Remove rubber washer when not in use

illustration

- The vacuum infiltration pump is composed of a chamber of electrically heated water which should be at constant temperature of 58 ˚C when molten paraffin wax is used.

- The tissue is dipped in an empty container or vessel which has been connected to a pump to control the pressure in it. The pressure should be between 30-50cmHg. This is indicated by the pressure gauge.

- In this empty container is placed another container or beaker containing molten paraffin wax and in this wax, the tissues are suspended. The whole chamber has 2 valves. One outlet valve B and one inlet valve A.

- The pressure reduction is obtained by an electric vacuum pump (water pump or simple hand pump)

- The water is electrically heated at 58 ˚C.  Valve “A” which is the inlet valve is opened to allow the outside and inside atmospheric pressure to be equal. Then it is closed and outlet valve “B” is opened. This is then connected to a vacuum pump (electric). The lid should be tightly closed. The air is then withdrawn until the pressure gauge reads 400 mmHg. Valve “B” is then closed. The chamber is then left for the paraffin wax to infiltrate the tissue specimen in it for 30 min.

- After 30 min, the inlet valve “A” is opened and the pressure inside and outside equalizes. The lid is then opened and the tissue specimens removed.

- Note:

- Increasing or reducing pressure should be done rapidly but slowly to avoid rupture of delicate membranes e.g. alveoli of lungs and thin walled cysts.

Occasions when vacuum pump infiltration is used:

- When tissues are hard and have thickly packed cells e.g. bone and brain.

- Tissues are spacious and have air spaces e.g. lung

- Specimens needing quick diagnosis (urgent biopsy)

- Tissues with large amounts of fats (adipose tissues)

The tissues to be used are:

- Bone (hard tissue)

- Lung and soft tissue (spacious tissues)

- CNS tissues or adipose tissues with large amounts of fat

- Any urgent biopsy

Advantages

The low pressure in the vacuum makes it easier for the molten paraffin wax to infiltrate the tissues easily and quickly.

EMBEDDING (CASTING OR BLOCKING)

- After the tissue had been infiltrated, it’s important to obtain a solid block of wax containing the tissue.

- This is achieved by filling the mould with pure molten paraffin wax and then orientate a piece of infiltrated tissue making sure it lies on the right side to be cut and finally allowing the molten paraffin wax to solidify the tissue.

- This process is called embedding, casting or blocking.

- The result is a solid block of solid wax-containing piece of tissue. The solid wax containing the tissue is detached from the mould by gently knocking the mould on a bench. There are a variety of embedding moulds used in histology.

Note:

- Embedding is meant to provide an external support to the piece of tissue i.e. the tissue is surrounded by a solidified paraffin wax block.

- There are several forms of embedding moulds used in histology. Their choice depends on:

  - Convenience of the worker

  - Buying power of the laboratory

The following moulds are often used:

- Leuckhard’s embedding moulds

- Plastic ice-cube trays

- Metal trays

- Plastic embedding rings (tissue teks)

- Allluminium foil boxes (paper boxes)

- Glass tubings

- Watch glasses

- LEUCKHARD’S

  - These are L-shaped pieces of metal usually brass or any rust proof metal. They are supplied in various sizes.

  - The depth of the metal pieces range from 1.5-2.0 cm.

  - For use, the  L-shaped moulds are placed on a plate (metal, glass or plastic) of suitable size. This plate acts as a base for the mould. These moulds are convenient to use in the lab and are also cheap.

  - Several tissues can be embedded in the moulds especially the larger moulds. The smaller moulds will only allow embedding of single specimens.

Note:

- It’s important to warm the embedding (Leuckhard’s) mould and the plate before pouring the molten paraffin wax for embedding. The tissue must also be at the same temperature.

- To avoid wax sticking on the moulds, apply glycerin jelly on the mould and the plate thinly. If glycerin is not available, use egg white instead.

- For multiple embedding, block of wax containing tissue are separated by using a scalpel knife. The trimmed blocks are attached to wooden holders together with their labels. Using a hot spatula, the block is scrapped clear and is ready for microtomy.

- TISSUE TEK (PLASTIC EMBEDDING RINGS)

- These are supplied in various sizes for quick use.

- The ring is used in conjunction with a stainless steel mould or base. The tissue to be embedded is placed on the steel mould, the ring is then placed in position on the mould and the molten paraffin wax is poured till it brims the ring covering the tissue. The wax is allowed to solidify.

- The mould is the detached leaving a block of wax containing the tissue held in the ring. The plastic ring serving as a holder. After microtomy, the tissues are stored with the ring.

Note:

- This method of blocking is economical with molten paraffin wax.

- It’s very convenient for use in routine lab that carries a lot of work. Blocking is very quick (singly), however it has a disadvantage of using a lot of storage space. Also the moulds and the rings are expensive. The moulds should be treated with glycerin aerosol spray foe easy detachment.

- PLASTIC ICE-CUBE TRAYS

- These are cheap to buy and suitable for use in a busy lab because they produce multiple blocks of wax containing tissues.

- These blocks are of uniform sizes

- The trays also offer easy release of blocks from the moulds (and more easier if glycerin is applied).

4.THE METAL TRAYS

- These are cheap to buy and produce multiple blocks of wax containing tissues

- They can be used in a busy routine laboratory

- ALLUMINIUM FOIL (PAPER BOATS)

- The foil is folded into suitable boxes of approximate sizes to be used for individual blocking.

These kinds of moulds are not suitable for use in busy labs because it wastes a lot of time.

- GLASS TUBING

- These can be used to block very small and fragmentary tissue specimens such as cytological specimens.

- In this case of cytological specimens, the processing and embedding is carried out in the tubing. The specimen being centrifuged after each stage.

- After infiltration in molten paraffin wax, the specimen is centrifuged and allowed to cool for further wax to solidify. The glass is then broken to release the block of wax containing the tissue.

- If the glass was corked at one end, the cork is removed and solid wax is pushed out at one end of the tubing. The wax block is the ready for microtomy.

- WATCH GLASS

This can be used as embedding moulds for blocking very fragmentary tissue specimens.

STORAGE OF PARAFFIN WAX BLOCKS

- Properly fixed, dehydrated, cleared, infiltrated and embedded tissue blocks when stored in a cool dry and dust free place will retain good cutting and staining qualities indefinitely.

- The cut surface of the block must be protected from being eaten by rats and houseflies by covering them with a thin layer of paraffin wax.

EMBEDDING/CASTING/BLOCKING PROCEDURES

- Fill the mould with molten paraffin wax

- Warm a pair of blunt-nosed forceps and use them to transfer the tissues from the paraffin wax into the mould.

- Warm the forceps again and orientate the tissue until it lies in the desired position. Run the warm forceps round the tissues to ensure that any wax which has become solidified during the transfer from the molten paraffin wax into the mould is melted.

- Remove label from tissue basket and place it against the side of the mould adjacent to tissue. Write the number on the tissue tek using  graphite pencil.

- Transfer mould into a container of cold water and immerse gently. The mould should remain immersed until the wax hardens. Alternatively, it is placed on ice pack.

REASONS FOR POOR INFILTRATION OF WAX IN EMBEDDED SECTIONS OR BLOCKS.

- Imperfect dehydration

- Imperfect clearing

- Imperfect impregnation in molten paraffin wax.

- If molten paraffin wax contains dirt

- The block of tissue is inadequately impregnated in molten paraffin wax.

|  | FAULT | REASON |
| --- | --- | --- |
| 1 | Tissue smells of clearing agent | Clearing reagent is not completely removed from tissue due to insufficient time in wax impregnation |
| 2 | On trimming tissue is seen to have shrunken away from wax | Incomplete dehydration, thus incomplete clearing |
| 3. | Tissue quite soft when block is trimmed | Incomplete fixation |
| 4. | On trimming, tissue appears to be full of air bubbles (holes) | Incomplete impregnation or contaminated wax |
| 5. | On trimming wax appear crystalline | Block not cooled rapidly enough |

EMBEDDING MEDIA

The embedding media employed in tissue processing are:

- Paraffin wax and other forms like paraplast, bioloid, and tissue mat.

- Ester wax with low melting point (45-47 ˚C) but becomes harder on sections cut at 2-3μ.

- Water soluble waxes – polyethylene glycols

- Low viscosity nitrocellulose

- Celloidin

- Synthetic resins

- Gelatin

- Agar

- Freeze drying and frozen substitution

PARAFFIN WAX

- Available in a wide range of melting points ranging from 45-60 ˚C. Waxes with lower melting points are softer than those with higher melting points.

- Tissues may be infiltrated in paraffin wax by the following methods:

  - Manual processing

  - Automatic tissue processing

  - Vacuum embedding

- In manual processing, at least 4 changes of 15 min each bath at intervals of wax in order to ensure complete removal of clearing reagents from tissues.

- The specimens are left in the last change of wax for 3 hrs until is infiltrated/dehydrated.

- During automatic tissue processing, only two changes are required because tissues are continuously agitated in the wax which hastens the removal of clearing reagents.

- The second change of wax is used to impregnate the tissue. In both methods, the tissue should be left in the wax for adequate time but the period should not be prolonged.

- Tissues that have been left in the molten paraffin wax for longer time suffer excessive shrinkage and hardening which caused difficulties in sectioning.

- Under filtration in molten paraffin wax causes:

  - Incomplete removal of clearing agent from the tissue and the block becomes soft and crumbles.

  - Wax fails to penetrate tissue thoroughly

  - Slices of tissue do not section well and sections break up when being floated out in a water bath.

  - Tissue like bone, lung, skin and tough specimens like tendon, ligaments are impregnated in molten paraffin wax under reduced (negative) atmospheric pressure in vacuum embedding medium.

- The method has an advantage of rapid impregnation with minimum exposure to heat which has a tendency of hardening tissues.

- Paraffin wax has got additives which harden wax in order to facilitate production of thin serial sections.

- The common paraffin wax additives are: ceresin, stearic acid, bee wax, rubber, bay berry wax, diethylene glycol, distearate plastic waxes and microcrystalline waxes.

PARAPLAST

- This is a mixture of highly purified paraffin wax and several plastic polymers giving it the advantage of being more elastic due to its plastic content.

- It is sold in plastic  pellets.

- Paraplast is soluble in most clearing agents.

PARAPLAST PLUS

This is compound of purified paraffin and plastic polymers of regulated molecular weights. It contains dimethylsulphoxide which gives it more penetrating power than paraplast. It is supplied in trhe form of pellet and used in the same way as Paraffin wax.

TISSUE MAT

- This is a product of paraffin wax containing rubber used in the same way as paraffin wax

- It is sold in form of sheets of mats

BIOLOID

This is similar to paraffin but contains more plastic polymers. It is recommended as an embedding media for thin walled and circular specimen to be regained after processing and sectioning.

ADVANTAGES OF PARAFFIN WAX EMBEDDING

- Has good cutting qualities

- Blocks are durable

- Storage of blocks has no problems

- Sections from ribbons without shrinkage or wrinkling

- Sections are cut as thin as 3μ

- Has a good processing speed

- Provides good consistency of serial sections

DISADVANTAGES

- Prolonged time exposure causes hardening and shrinkage of tissues

- Cortical (compact) bones are difficult to section

- Thick sections of large specimens are difficult to cut.

- Soft tissues such as liver and spleen tend to crack during sectioning

- ESTER WAXES

- This is a mixture of diethylene glycol distearate, glyceryl monostrearate and 300 polyethylene glycols.

- It is an embedding medium that is harder than paraffin wax but with a lower melting point of 46-48 ˚C.

- Not water soluble but soluble in 95 % alcohol and other clearing agents. Because the wax is soluble in 95% ethyl alcohol, it is possible to impregnate the tissues without using any of the routine clearing agents.

- When clearing agents are used, those used are xylene or cellusolve.

- Sectioning of Ester wax blocks should be done with a heavy microtome like the base sledge or sliding type because of the hardness of the wax.

- Sections are cut at 3-15μ but it can be cut at 1μ

- The sections must be dried at 37 ˚C

Advantages of Ester Wax Embedding

- Has a low melting point of 46-48 ˚C.

- Gives hard blocks which can give a good 1μ thick sections

- Produces good ribboning

- Soluble in 95% ethyl alcohol and the usual clearing (xylene and cellusolve).

Disadvantage

More expensive than paraffin wax by 8 times

- WATER SOLUBLE WAXES

- These are solid polyethylene glycols readily soluble in water and tissues may be impregnated immediately after fixation in aqueous fixatives.

- The possibility allows demonstration of enzymes and lipids in sections prepared without freezing.

- It also results in much reduced shrinkage since use of dehydrants and clearing agents is avoided.

- The wax does not penetrate evenly tissues rich in fatty materials. Cutting and manipulation is more difficult in this wax, hence the use of soap is recommended to reduce currents during floating.

- Blocks of tissue must be stored in a dry atmosphere.

Advantages of water soluble waxes

- They cause little shrinkage

- There is no need of dehydration and clearing

- Tissues do not become brittle

- Tissues are not exposed to higher temperatures

- Useful for demonstration of enzymes and lipids

Disadvantages of Water-Soluble Waxes

- Sections are difficult to float out and mount

- Sections are readily soluble in water and the usual dehydrants and clearing agents

- The blocks must be kept in a dry atmosphere

- Do not penetrate fatty tissues readily

N/B:

The solubility in water of the wax can be overcome by adding a few drops of soap to the water or by using 10-20% solution of polyethylene glycol 900 in water.

- LOW VISCOSITY NITROCELLULOSE (LVN)

  - Celloidin

  - Gelatin

  - Synthetic resins

  - Agar

a. CELLOIDIN

  - This is a form of purified nitrocellulose (gun powder) used for embedding tissues.

  - It is supplied in shreds or wool moistened in alcohol and used in 3 concetrations.

  - When dissolved in equal parts of ether and alcohol, the three concentrations are:

        - 2% thin celloidin

        - 4% medium celloidin

        - 8% thick celloidin

- Celloidin is a useful embedding medium for hard and fragile specimen and although not routinely used in histology, it is useful in the neurological work.

- Tissues receive greater support from celloidin wax than from paraffin wax allowing the sectioning of large specimens.

- Because heat is not required during processing, it causes minimum shrinkage and hardening of tissues, which is important when cutting large sections of bone.

ADVANTAGES OF EMBEDDING IN CELLOIDIN

- Gives greater support allowing sectioning of large tissues.

- Useful for hard and fragile tissues like bone, brain and nerves.

- Does not require heat.

- Causes minimum shrinkage and hardening of tissues.

DISADVANTAGES OF CELLOIDIN

- Extremely slow to embed, takes days to weeks

- Only thick sections can be cut (10-15 μ)

- Block must be stored in 70% alcohol

- Tissue block and knife must continuously be moistened with 70% alcohol when sectioning.

- Highly flammable

- Does not allow production of serial sections

Tissues That Benefit from Celloidin Embedding Are:

- Dense tissue e.g. brain

- Hard tissue e.g. bone

- Delicate tissue (fragile) e.g. eye and embryo

Other Solvents for Celloidin are:

  - Methyl benzoate

  - Castor oil (oleum resin)

  - Amyl acetate

CELLOIDIN EMBEDDING METHOD

- Celloidin must be stored in a dark container bottle to prevent the action of light and avoid evaporation of ether.

- Air tends to cloud celloidin making it unfit

CELLOIDIN EMBEDDING: TECHNIQUE

- Fix tissues in 10% formalin

- 50% alcohol for 24 hrs.

- 70% alcohol for 24 hrs.

- 80% alcohol for 24 hrs.

- 95% alcohol for 24 hrs.

- Absolute alcohol for 24 hrs.

- Equal parts of absolute alcohol and ether 24 hrs.

- 3% or 2% celloidin solution 24-48 hrs.

- Thick celloidin solution 12% 24-48 hrs.

- The tissue is placed in thick celloidin solution in a small paper box and then under a bell jar in conc. H2SO4 in a dish until the specimen is firm. This removes all the aqueous contents.

- Remove H2SO4 and put in chloroform, let stand for 24 hrs.

- Trim celloidin off around tissue but not too close

- Block in equal volume of chloroform and cedar wood oil for 24 hrs, add a few grains of copper sulphate.

- Mount in block of timber, then place in cedar wood oil for 2 days

- Cut sections with sledge or sliding microtome, the knives are 45˚ to the specimen. Wet knife constantly with alcohol to prevent specimens being torn.

- Place sections in 80% alcohol until ready to stain and oil is removed.

- Stain

- Mount stained specimen on slide

- Impregnation in medium celloidin solution takes 2-4 days depending upon the thickness and consistency of the tissue.

Place the thick celloidin from 3-6 days

CUTTING CELLOIDIN SECTIONS

- A sliding microtome is used

- The surface of the knife should be kept constantly wet with 80% alcohol from an overcharging drop bottle.

- Sections are removed from the knife with a camel hair brush and placed in 80% alcohol

- Thick celloidin- dissolve 30g of dry celloidin in 450mls of a mixture of equal parts of ether and absolute alcohol.

- Medium celloidin- dilute thick celloidin with equal parts of ether and alcohol mixture.

- Thin celloidin- dry celloidin 12 mg ether 200 mls and absolute alcohol 200 mls. Shake until all celloidin is dissolved.

- LOW VISCOSITY NITROCELLULOSE (LVN)

- LVN is form of cellulose nitrate being less viscous than celloidin.

- It penetrates tissues more readily and can be used at higher concentration than celloidin giving a harder block and the possibility of thinner sections.

- Sections tend to crack when embedded in LVN. To overcome this problem, plasticizers like tricresyl phosphate, castor oil (oleum resin) are added to LVN. A small amount of celloidin may be added to give elasticity to the tissue blocks.

- Solvents for LVN are ether/alcohol mixture equal parts, amyl acetate.

- LVN is used in three concentrations of 5%, 10% and 20%. LVN should be handled with care and should never be allowed to dry. It is highly explosive.

- The minimum possible cutting thickness of LVN is 10μ .

- Blocks are stored in 70% alcohol until required for sectioning.

- For advantages and disadvatages, compare with those of celloidin.

6. GELATIN

- Gelatin is usually used as an embedding medium for friable specimens and tissue fragments requiring frozen sections.

- It is water soluble and tissues do not require dehydration and clearing, although the fixative usually 10% formal saline must be completely removed from the tissue by thorough washing in running tap water for 12-24 hrs.

- Gelatin has low melting point and specimen embedded by this method do not suffer from the effect of heat which tends to harden tissues.

- During embedding 1% solution of phenol is added to gelatin to prevent growth of moulds.

- Tissues embedded by this method should not exceed 2-3 mm in thickness as gelatin has a tendency to inhibit freezing.

- Tissue blocks are stored in 10% formal saline until required for sectioning.

N/B:

Curretings- renal biopsy, uterine curretings. Use a needle to get the specimens friable (fragile specimens e.g. eye)

- SYNTHETIC RESINS

- Resins are obtained from plastics. They are media which will be set to become harder enabling preparations of very thin sections from exceptionally hard materials for electron microscopy.

- Sections are cut a thickness of 0.005-0.1 μ. To meet this need, use of the following is necessary:

    - Acrilic resins (butyl methacrylate or ethyl methacrylate)

    - Expoxy resins e.g. araldite

    - Polyster resins.

- Ultra microtomes are used to section tissues embedded in synthetic resins.

- Microtome knives used to section tissues embedded in synthetic resins is glass type or diamond type.

- Sections of 1-2μ can be cut for lighter microscopy.

- The best fixative for electron microscopy is osmium tetroxide.

DOUBLE EMBEDDING

- Makes use of paraffin wax and celloidin in methyl benzoate.

- The technique is valuable for preparing tissues of varying consistency like the eye, brain, bone, muscle, fibroids and uterus.

- The method is designed to produce the improved cohesion of tissue layers and plasticity given by celloidin and facility of cutting ribbons of sections from dry durable blocks that is characteristic of paraffin wax.

PETERFIS DOUBLE EMBEDDING METHOD

- Transfer thoroughly dehydrated tissue from absolute alcohol to  1% celloidin in methylbenzoate for 3 changes of 24 hrs each

- Place in 3 changes of toluene, each 8 hrs

- Impregnate in several changes of paraffin wax

- Embed in paraffin wax.

NOTE

1. Dry celloidin does not dissolve readily in methyl benzoate and may require several days for complete solution.It should be kept tightly in stoppered container.

2. Double embedding is not  a rapid method although small pieces of porous tissues may well be completely infiltrated with colloid-methyl benzoate in less than 72 hrs standard method. The duration in celloidin-methyl benzoate

3. In 1956 Russel described a modification of peterfis method by using the automated processor which is beneficial for tissues that are prone to cracking such as liver and spleen of small lab animals.

4. A simple method of double embedding by treating tissue after dehydration in absolute alcohol with alcohol ether (equal parts) followed by 1 or 2% cellulose nitrate is hardened with chloroform before impregnation with paraffin wax.

- FREEZE DRYING

- It is the process of avoiding harmful effects of clearing and dehydration which may cause alteration, loss or displacement of enzymes.

- In freeze drying only water is removed from the tissue there being no alterations to arrangements or quantity of any other tissue components.

- The process has four stages:

1. Immediate freezing of very small pieces of fresh tissues by immersing in isopentane cooled by liquid hydrogen at about -150 ˚C. This is called quenching.

2. Transfer of the specimen to dry chamber where at a temperature of -30 ˚C to -60 ˚C and under vacuum (0.01 mmHg) the ice (tissue water) is removed by sublimation, the water being absorbed by phosphorus pentoxide or any other drying agent .

3. Impregnating with suitable medium under reduced pressure.

4. Treatment is done before examination i.e. embedding and cutting sections

The advantage of Vacuum impregnation is:

The reduction of time required for complete impregnation. The reduction in time means that tissues are not over-exposed to heat which has a tendency to cause brittleness and increases shrinkage and hardening of tissues.

Tissues Impregnated by Vacuum Embedding are:

- Tough fibrous e.g. uterus, fibroids

- Dense tissue e.g. brain

- Hard tissue e.g. bone

- Air containing tissues e.g. lung

- Tissues with large amount of fat

- Blood containing tissues e.g. liver and spleen

- Poorly penetrating tissues like skin

- Tissues made of delicate structures like the eye

- Lymph glands

- Urgent biopsies

Further Advantages of Vacuum Embedding

- There is very little shrinkage of tissue

- Tissues are processed in a dry state

- There is little chemical alteration of proteins

- There’s less displacement of cells consistency. A good example of this is that there is no loss of glycogen tissue processed by this method.

DISADVANTAGE

- It is very expensive

The Aim of Vacuum Embedding is:

- To remove air bubbles as in porous tissue like lung

- Remove clearing agent rapidly by increasing its vaporization

- Continuous bubbling indicates that either the clearing agent or dehydrant is still present in tissues and changes in previous processing times or techniques are necessary.

- Degree of vacuum embedding should not exceed 300-500 mmHg to prevent damage.

10. AGAR EMBEDDING (GELATIN AGAR)

- Agar is used to embed friable unfixed tissues which should be cut on a freezing microtome.

- The method prevents the probability of loss of very small fragments of tissues during processing.

- Agar is not sustainable by the Haematoxylin and Eosin Method.

TECHNIQUE: Agar Embedding

- Place tissue in 5ml of 10% formal saline and boil.

- Immediately replace formal saline with 2% aquous agar sterile and boil gently for 1 min.

- Pour off the agar, remove the tissue.

- Place the tissue on the stage of a freezing microtome, freeze it and section

11. GUM ARABIC EMBEDDING

- In the absence of gelatin or agar embedding medium, the consistency for frozen sectioning of many tissues may be improved by soaking for some hours in thick solution of gum Arabic in water.

- The formation of ice-crystal artefacts may be reduced by use of gum Arabic but sections should be washed after cutting as residual gum may interfere with staining reactions.

AUTOMATIC TISSUE PROCESSORS

- The use of automatic tissue processors is an example of the practical application of automation in the medical laboratory.

- Examples are:

    - Histokinette, Elliot and Shandon tissue processors

    - Tissue- Tek II

    - Autotechniron Duo

    - Tissue maton

    - Histomatic model 165

Advantages: Automatic Tissue Processors

- The time required in each reagent is reduced due to:

  - Suspending tissue in fluids

  - Continuous agitation

  - Movement from one reagent to another when desirable and not controlled by the normal working hours.

- The laboratory personnel get time to carry out other technical or administrative duties.

GENERAL CONSTRUCTION OF AN AUTOMATIC TISSUE PROCESSOR

- BODY

- The body is made up of resin-bonded fibre glass.

- The beaker platform and cover plate are made up of laminated plastic material that is impervious to all reagents used during processing.

- It is mounted on rollers so that the platform turns and also makes it easy to reach the beakers.

- BEAKERS AND WAX BATHS

These are 10 lidless beakers and two wax baths- thermostatically controlled.

- TRANSFER ARM

The arm moves tissue according to predetermined timing of the discs and enables tissue to be positioned at convenient point of the processing cycle.

- AGITATION

This is continuous vertical movement due to a mechanism running through the transfer arm to which tissue baskets are connected.

- TIMING MECHANISM

- It consists of an electric clock to which is connected a metal disc marked to cover a period of 24 hrs.

- The disc is notched in position to coincide with an appropriate step in the processing cycle or schedule.

- A metal pawl engages with each notch in turn as the clock rotates, and this sets the transfer arm and turning mechanism into motion, moving the tissue to the next position in the cycle.

- In addition to the 24 hr clock, some models are also provided with a one hour clock in order that the machine may be adapted for staining slides.

- This clock is brought into operation by means of a selector switch on the control panel.

- DELAY MECHANISM

- This is a mechanism by which the processing cycle may be delayed for up to 24 hrs.

- A retaining lever is used to lock the metal pawl so that it does not engage with the notch disc.

- The period required to delay the start of the processing is determined and the notch corresponding to the first step in the cycle is moved away from the pawl, to correspond with the period of delay.

- Time is calculate in an anticlockwise direction. A trip lever designed to re-engage the pawl is then positioned immediately in front of the notch, which is to be engaged, and is secured by means of the central locking nut.

- As the clock and the disc rotate, the trip lever also turns, eventualy engaging with the retaining lever. This releases the pawl which returns to its former working position and engages with the appropriate notch at the pre-selected time, setting the whole mechanism into process.

- The mechanism permits the machine to operate over the weekend, the tissue being ready for embedding on Monday morning.

- SAFETY DEVICES

- There are two cut- out safety devices

- One of them enables the tissue to remain in the wax until removed at the end of the processing cycle. The second device comes into operation should the paraffin wax in the first wax bath get solidified.

- Failure of the transfer arm to return to its normal position results in the tissue container being carried to the second wax bath.

- An alarm bell powered by two dry cell batteries can be installed in a convenient position in the laboratory. This provides warning in case of power failure or fuse being blown.

- TISSUE CONTAINERS

The tissue containers used in tissue processing are:

- Plastic baskets

- Metal baskets

- Curretin baskets

SCHEDULE FOR AUTOMATIC TISSUE PROCESSOR

The processing of tissue using an automatic tissue processor is set according to the solutions being employed.

Schedule I

- 70% ethanol- 1 hr.

- 95% ethanol I- 1 hr.

- 95% ethanol II- 2 hrs.

- Abs. ethanol I- 1 hr.

- Abs. ethanol II- 2 hrs.

- Abs. ethanol III- 2 hrs.

- Abs. ethanol/chloroform- 1hr.

- Chloroform I- 11/2 hrs.

- Chloroform II- 21/2 hrs.

- Chloroform III- 3 hrs.

- Paraffin wax bath I- 2 hrs.

- Paraffin wax bath II- 3 hrs                              N/B: Total 22 hrs.

SCHEDULE II

  - 70% ethanol- 3 hrs.

  - 90% ethanol- 3 hrs.

  - Abs. ethanol I- 1 hr.

  - Abs. ethanol II- 1 hr.

  - Abs. ethanol III- 2 hrs.

  - Abs. ethanol IV- 2 hrs.

  - Toluene I- 11/2 hrs.

  - Toluene II- 21/2 hrs.

  - Paraffin wax bath I- 3 hrs.

  - Paraffin wax bath II- 3 hrs.

Total:                             22 hrs

SCHEDULES FOR MANUAL PARAFFIN WAX PROCESSING

Routine manual wax processing is divided into two schedules:

1. Rapid manual paraffin wax processing schedule

1.  24 hour manual paraffin wax processing schedule (rarely used)

RAPID MANUAL PARAFFIN WAX PROCESSING

  - 70% ethanol- 1/2 hr.

  - 95% ethanol- 1 hr.

  - Abs. ethanol I- 1/2 hrs.

  - Abs. ethanol II- 1 hr.

  - Xylene I- 15 min

  - Xylene II- 15 min

  - Wax bath I (vacuum)- 1/2 hr.

  - Wax bath II (vacuum)- 1/2 hr.

Total:                                    4 1/2 hrs.

This is followed by embedding in paraffin wax.

MICROTOMY

- This is the preparation of thin sections from tissues that have been properly fixed, processed and embedded in a suitable medium for microscopic examination.

- The machine used is called a microtome. There are several types of microtomes.

In order to use acquire the skill to be able to use various microtomes available with competency, to be able to prepare properly sharpened microtome knives and produce blemish-free sections from various tissues prepared in various ways takes a long time, a lot of patience, a lot of awareness of the factors that can influence the section cutting.

The six microtomes that are commonly used in histopathology are:

  - Cambridge rocker microtome

  - Rotary microtome

  - Sliding microtome

  - Sledge microtome

  - Freezing microtome

  - Cryostat

- CAMBRIDGE ROCKER MICROTOME

- This is a small light weight instrument suitable for teaching and class work.

- The knife is fixed with the edge uppermost while the object moves against the knife in an arc of a circle producing a slightly curved surface block.

- It is not good for hard tissues because of its light weight which makes it not as firm as other types of microtomes.

- It  is  good for small soft tissues.

- ROTARY MICROTOME

- The feed mechanism is activated by turning a wheel at one side of the machine.

- The knife is fixed, edge uppermost and the object moves against the knife according to the selected thickness, arising and falling vertically.

- One rotation of the operation wheel produces a complete cycle of downward cutting stroke, an upward return stroke and activation or the advance mechanism.

- This is a good general purpose microtome for mainly paraffin wax materials and serial sections.

- SLIDING MICROTOME

- Here the knife is obliquely set and is drawn across the surface of the stationary block.

- It is mainly used for cutting colloidal embedded tissues.

- SLEDGE MICROTOME

- This is a largely heavy instrument with fixed knife beneath, which travels the object mounted on a heavy sliding base containing the feed mechanism.

- The base is moved to and from runners against the knife-edge to produce sections.

- The feed mechanism is either automatic or activated manually on each cutting stroke. It is suitable for celloidin embedded tissues with a knife set obliquely.

- It is suitable for hard large specimens, particularly bone and teeth. It is used for paraffin wax sections with knife set at right angles to the direction of the object.

- FREEZING MICROTOME

- This is designed for the preparation of frozen sections of fixed or unfixed tissues usually without embedding.

- The tissue stage is connected to a cylinder of compressed carbon dioxide for cooling of tissue. There is also a provision for cooling of the knife.

- The movement of the knife horizontally across the surface of the specimen also activates the feed mechanism which is commonly in steps of 5 microns.

- It is not possible to prepare ribbons of sections and production of serial sections is difficult.

- CRYOSTAT

- It consists of a microtome contained within a refrigerated cabinet designed to operate at -5 to -30 ˚C.

- Any rotary microtome can be modified for this purpose by using stainless steel components.

- The Cambridge rocking microtome is the most widely used because it has a few moving parts which allow trouble-free operation at low temperature. The temperature of -15 to 20 ˚C is suitable for most tissues.

FACTORS INFLUENCING SECTION CUTTING

- Choice and state of microtome knife e.g. blunt knife, nicks in the knife, dirt which might cause a false positive P. P. B. reaction.

- Good setting of the knife on the microtome on the microtome i.e. a good angle of the knife setting.

- Microtome should be placed on a vibration- free bench.

- Microtome should be in good working condition, well maintained and cleaned.

- Choice of size of microtome affect the production of a good section i.e. heavy for large specimen.

- The type of embedding medium used.

CARE OF MICROTOMES AND KNIVES

- After use, knives should be removed from the microtomes and cleaned with a piece of cloth soaked in xylene.

- The microtome should be cleaned with a piece of cloth soaked in xylene to remove dust, oils and other substances from its surface.

- After cleaning it should be wiped dry with a dry clean cloth and then covered with its bag to protect it from dirt.

- The above will apply to all microtomes using paraffin wax. But in case of a freezing microtome, it should be wiped clean with moist cotton wool followed by a dry cloth.

- The microtome should be kept in a dry place free from dust.

- In case of cryostat (a microtome in a fridge), it’s cleaned using a piece of cloth moistened in alcohol so as to ensure the inside is dry.

- Its window is always kept closed at all times to avoid atmospheric or prevent moisture from entering inside. The inside should have a regulated constant temperature of -20 to -20 ˚C.

MICROTOME KNIVES

- These are made from stainless steel and are used in moist microtomes mentioned earlier.

- The only exception is ultra- microtome knife which is made of glass.

- Microtome knives have different shapes and sizes depending on the type of microtome to be used. They include:

    - Biconcave

    - Plano-concave

    - Plane-wedge tool edge

- Biconcave

- It is hollow on both sides. It’s used on a rocker microtome for cutting tissues embedded in paraffin wax. A special knife used on the rocker microtome is called John Heifer Knife.

Note:

This type of knife profile does not need a false back during sharping.

Diagram

- Planoconcave

- The appearance is hollow on one side and plain on the other. This type of knife is used on the sliding microtome to prepare sections from tissues embedded in celloidin or LVN.

Diagram

- Plane Wedge

- It is plain on both sides. Used on both most microtomes, chiefly rotary with the exception of ultra-microtome. It will prepare sections from tissues embedded in paraffin wax.

- It will also prepare sections from celloidin embedded tissues. The knife can be used on cold microtomes and cryostat microtomes to prepare for frozen sections.

Diagram

- Tool Edge

- It has only one level. The knife is used to cut sections from hard materials e.g. bone. This knife is employed on the sliding microtome. The materials to be cut can be embedded in a synthetic resin.

Diagram

Components of a Rotary Microtome

  - Knife holder

  - Micrometer screws

  - Ratchet wheel

  - Handle

  - Block holder

* Knife, base, thickness gauge, angle of tilt adjustment, knife cups, stage.

Tissues that benefit from vacuum impregnation:(TISSUE PROCESSING)

  - Bone (hard tissue), brain.

  - Lung and soft tissues

  - CNS or adipose tissues

  - Urgent biopsies.

KNIFE SHARPENING

- Most microtome knives are provided with detachable handles screwed onto one end of the blade.

- The only exception is the JOHN HEIFFER knife used on the Rocker microtome. The handle of this knife is an integral part of the blade.

- The Ultra-microtome knife does not have a handle.

WAYS OF KNIFE SHARPENING

There are two ways of knife sharpening;

  - Hand sharpening (manual)

  - Machine sharpening (automatic)

The process of sharpening is in two stages;

  - Honning

ii.stropping

- MANUAL KNIFE SHARPENING

- HONNING

- Is required to remove nicks from the cutting edge and also produce a new level of the knife.

- This is done on an abrasive material called HONE.

- The common histological hones are:

  - Belgium yellow stone

  - Caborundum stone

  - Arkansas stone

  - Plate glass

  - Aloxite coarse or fine.

- The size of the stone depends on the knife size. The length being sufficient enough to sharpen the knife edge in one stroke. The width should be broad enough to prevent wobbling.

- It’s good practice to keep the hone in a wooden box as this increases its stability in sharpening.

- During microtome knife sharpening, substances called abrasives are used. These are mixed with a lubricant e.g. oil, water, or soapy water

- Abrasives are in 2 types:

    - Course

    - Fine.

- Abrasives are supplied in alluminium oxide which has 4 grades namely 2F, SO, 12CD and Polishing.

- These are arranged from the coarse to the finer abrasives.

- Another type of abrasive is the jeweler rouge which is used during stropping and is applied on the canvas side of the strope.

- The number of strokes will depend on the condition of the cutting edge. More strokes if the cutting edge is badly damaged.

- Stop honing when the knife edge feels sharp and there are no more nicks.

Diagram

- STROPPING / POLISHING

- This is done in a similar manner to honing except the back of the knife leads the stroke

- The stropes used may be flexible or rigid e.g. the small horse strope while a rigid strope is the Zimmer and Rose triside strope.

- These stropes require the application of an abrasive paste e.g. Jeweller rouge on the canvas side of the strope.

- After stropping, the knife is ready for use.

Diagram

MACHINE SHARPENING OF MICROTOME KNIVES

- There are several automatic machines used for sharpening. These include:

  - Elliots and Shandon automatic knife sharpener

  - Spencer

  - Tan tool

  - Lip saw automatic knife sharpener.

- ELLIOTS AND SHANDON KNIFE SHARPENER

- This is among the first automatic knife sharpeners to be made. Others are more recent.

- It contains a circular glass plate as a hone onto which an abrasive material is added and mixed with a lubricant (water or thin oil).

- Both the knife and the plate should be washed and cleaned before moving from one abrasive plate to the next. The hone should be free from grit, dust and irregular surface i.e. no cracks.

- The surface of the hone should be level. An aluminum lapping bar is provided with the machine to keep the best level. This lapping bar should be run after one knife has been sharpened

2 . SPENCER KNIFE SHARPENER

- This is a small machine weighing 10 kg designed for precise, efficient and safe sharpening of the microtome knife.

- The knife is locked in a knife holder at a proper fixed angle to the vibrating honing knife plate.

- A small amount of special abrasive is added on the plate and the working system covered with a small transparent plastic

- The timer is set to the desired period of sharpening and the machine is switched on after selecting the appropriate speed.

- After four strokes of sharpening on one side of the knife level, the knife is changed automatically onto the other side for the same number of strokes (4).

- The stroking and changing over is repeated until the sharpening time is over. The knife holder is then raised to a convenient safe position for the knife to be removed. The knife is ready for use.

- Two glass honing plates are provided with the machine and are dressed by stroking against each other with a coarse abrasive mixed with a lubricant between them.

- The principle underlying the Spencer knife sharpener is the same as for Elliots and Shandon.

- TEM TOOL KNIFE SHARPENER

- The machine is composed of two motors, a pair of hones and a pair of circular leather-lined stropper.

- These do not need lubrication. The knife is honed and stropped and is ready for use within 4 minutes minimum.

- A level is provided to determine the size of the level to be preceded of the knife.

- LIPSAW KNIFE SHARPENER

- It has a number of clamps provided to accommodate most microtome knives.

- The knife is held in a spring clamp attached to a pivot shift.

TECHNIQUES IN SECTION CUTTING

- TRIMMING THE BLOCK

- Several tissues embedded in the same mould are divided into individual blocks by cutting a V-shaped groove and breaking along the groove or if tissues are closely packed, they are cut with a fret saw.

- The individual blocks are then trimmed using a hand razor blade making the sides of the block parallel.

- ORIENTATION OF THE BLOCK ON THE MICROTOME

- Fix the block holder in position on the microtome. Turn back the feed mechanism. Insert the suitable knife in the microtome knife clamp and secure it with the tightening screws. Move the block holder until the paraffin block is almost touching the knife edge.

- The surface lobe cut must be parallel to the knife edge. This is in the rocker microtome. The loading edge of the block should be set at an angle to the knife.

- Check all the tightening screws. The gauge controlling the thickness of the sections is set at 15 microns and the extreme end of the knife used to trim excess wax until the whole section is exposed.

SECTION CUTTING

- Replace the old knife with the one reserved for actual section cutting

- Select the required thickness setting (commonly set) and begin to cut.

- With a sharp knife, a currently adjusted microtome and properly fixed processing materials, sections will be cut.

POOR RESULTS IN SECTION CUTTING

- Inadequate impregnation

  - This can cause crumbling sections.

  - It can be remedied by taking the tissue block back to xylene to dissolve the wax from the tissue block then putting the tissue back to processing starting with 70% alcohol in ascending order.

  - Incorrect setting of the knife

  - This is determined by the angle of tilt of the knife that is the cutting face and the block of the tissue.

  - The incorrect tilt results in chattering and intermittent cutting.

  - The former can be remedied by reducing the angle of tilt.

- A blunt knife

  - This causes crumbling and thick and thin sections. There are scores as well.

  - This can be remedied by sharpening the knife.

- Brittle and Rough tissues

  - This can be reduced by positioning the knife through an angle to decrease the resistance.

  - This angle is called the angle of slant.

- The Dirt

  - If present in the paraffin wax, re-embedding of tissue in freshly filtered wax is necessary.

  - This is done under negative pressure.

Some Faults in Cutting Paraffin Wax Sections:

- SCORES: Sections scored or split vertically may be caused by:

  - Nicks in the edge

  - Knife edge dirty

  - Too much knife tilt

  - Grit, dirt or foreign bodies in the paraffin wax or tissues

- Varying thickness of sections may be caused by:

  - Clamp setting screws on block or knife holder not right.

  - Blocks too large

  - Blocks too hard

  - Microtome not adjusted correctly

- Section clinging to knife may be caused by:

  - Knife edge dirty

  - Knife tilt too vertical

  - Knife is dull

- Failure of block to ribbon may be caused by:

  - Block not parallel to the knife edge

  - Knife dull

  - Paraffin wax too hard

  - Knife tilted too much

  - Sections too thick

- Uneven and crooked ribbons may be caused by:

  - Irregularly trimmed blocks

  - Edge of block not parallel to knife edge

  - Paraffin wax not homogenous

- Tearing and crumbling of sections may be caused by;

  - Incomplete fixation of tissues

  - Incomplete dehydration of tissues

- Thick and thin zones in each section (chatters) caused by:

  - Tissues too hard

  - Excessive tilt

  - Movement of microtome too fast

  - Screws too loose.

FLOATING OF PARAFFIN WAX SECTIONS

- The creases are removed by a process or technique of floating sections in warm water.

- There are 3 techniques:

  - Hot stage technique

  - Warm stage technique

  - Water bath technique

- HOT STAGE  TECHNIQUE

- This is a special metal top which has a row of glasses set between the top which function to maintain low temperature between -45 to -50 ˚C.

- An alternative is a low temp. electric gas plate. Take a clean albuminized slide, place on the hot stage of the plate, flood the slide with distilled water. Put the tissue section on the surface of water. Remove major sections by using a dissecting needle. Allow the slide to warm for a few minutes.

- As the water warms, it removes creases and section flattens out.

- Drying the section is done by draining excess water.

- Return the slide on the stage or oven at 56 ˚C to dry.

- This drying is done in 10 – 30 minutes

- The section is ready for staining by any method

- WARM STAGE TECHNIQUE

- This is similar to the hot stage technique.

- Take a clean albuminised slide and flood with distilled water. Put the section in it to remove excess creases.

- The difference is that the slide is warmed under the Bunsen burner flame for a second or two to warm the water. Do not allow the wax to melt as this will damage the tissue sections.

- If the slide is warmed, all the creases should disappear. Drain the slide and dry it in a paraffin wax oven at 36 ˚C overnight. If the oven is at 56 ˚C then dry for only a half to two hours before staining.

- WATER BATH TECHNIQUE

- These are electrically heated and thermostatically controlled water baths.

- They are commercially available with a temperature of 6-10 ˚C below the melting point of wax used.

- Most of these baths have their inside coloured black to provide easy view of floating sections. The baths are usually filled with distilled water.

- An alternative is a glass dish. Take a slide a put the section and touch the slide with 20-50% alcohol.

- Lower the slide on to the water surface where the section piles off and remove (fish out) the floating sections from the baths and drain in the oven and stain.

Note:

Resistance  of faults may be due to:

  - Insufficient cooled block surface

  - The block wax is compressed by blunt knife or a poor knife level.

  - Incorrect angle of the tilt of the edge.

SECTION ADHESIVES

- These are syrup fluids or pastes which are used to provide a firm bounding between the tissue section and the glass slide.

- They are commonly used in staining techniques in which reagents such as ammonia are used particularly in silver technique and in staining procedures where the tissue section is required to be immersed in the staining solution for long periods.

- In both circumstances above there is a tendency of the sections to detach from the slides and therefore adhesives are used for firm bounding.

- This may be applied on the glass slide or may be put in the warm water bath.

- Examples of adhesives range from juice, jelly to gallic water and include sugar, gum, starch, gelatin or human or bovine or egg albumin.

- Other adhesives that can be used are cellulose, resin and sodium silicate. The commonly used adhesives are:

    - Mayer’s egg albumin

    - Starch paste

    - gelatin

PREPARATION

- MAYER’S EGG ALBUMIN

  - Mix well equal parts of egg white, distilled water and glycerin.

  - Filter in a coarse filter paper by using negative pressure.

  - Add a thymol crystal as a preservative to prevent moulds and bacteria from growing in the adhesive  and store.

- STARCH PASTE

- Mix 1g of soluble starch powder in 10ml of cold distilled water.

- Pour this mixture into 20ml distilled hot water (boiling water).

- Add 2 drops of 1N HCl

- Continue to boil for 4-5 minutes

- Allow to cool and add thymol crystals and cool.

- GELATIN

- Stock solution:

  - 1% Gelatin

  - 1% Potassium dichromate

  - Working solution:

Add equal volume and mix of equal concentration of 0.002 of each the above.

How Used

- Use a glass rod, applicator stick or pipette. Place a drop on a slide and smear using one ball of the finger with gauze.

- Use the slide immediately to pick the section from the water bath. Dry in an incubator and store in a dust free place.

DISADVANTAGES OF ADHESIVES

- If it is applied heavily on the slide and the slide stained, the albumin also stains and gives a dirty back-ground. This is so when old evaporated egg albumin is used or when a too concentrated solution of egg albumin is used.

- Some thymol resistant organisms and moulds will grow and the medium may become potential fungal infections attacking the finger nails also a source of contamination to the section preparation.

- The starch paste is the best. It provides a clear and firm adhesion to the sections. The disadvantage comes when it is to be stained in P.A.S. (Periodic Acid Schiff) method. If the adhesive is P.A.S. positive, it should not be used for sections to be stained by this technique.