Module 24:  		Clinical Engineering II

Code: 			CEI 309

Hours: 		90

Credit: 		9

24.1 Module competence

This module is designed to enable the learner to install, commission, service, maintain and repair theatre and physiotherapy equipment.

24.2 Module Outcomes

By the end of this module the learner should;

- Install, commission, service, maintain and repair physiotherapy equipments, theatre lamp, theatre table, Electro surgical equipment, Anaesthetic machine, Laparoscopy unit, respirator ICU equipment and biomedical telemetry and telemedicine unit.

24.3 Module Units

| No | Unit Name | Hours |  |
| --- | --- | --- | --- |
|  |  | Theory | Practical |
| 1 | Introduction to operation theatre | 4 | 2 |
| 2 | Theatre lamp | 4 | 4 |
| 3 | Theatre table | 4 | 2 |
| 4 | Electro surgical equipment | 4 | 2 |
| 5 | Anaesthetic machine and respirator | 4 | 2 |
| 6 | Laparoscopy unit | 4 | 2 |
| 7 | ICU equipment | 6 | 6 |
| 8 | Biomedical telemetry and telemedicine | 4 | 2 |
|  | Physiotherapy equipment |  |  |
| 9 | Introduction to physiotherapy equipment | 2 | 2 |
| 10 | Low frequency current treatment | 2 | 2 |
| 11 | Interferential therapy | 2 | 2 |
| 12 | Short wave therapy | 4 | 2 |
| 13 | Microwave therapy | 4 | 4 |
| 14 | Ultrasound therapy | 4 | 2 |
| 15 | Traction machine | 4 | 2 |

24.5 Module Content

Theory:

Operation Theatre Equipment: Theatre lamp and table; operation theatre: explanation of the special hygienic requirements in operation theatre, stating different types of operation theatres and their uses, explanation of the requirements of operation theatre. theatre lamp: explanation of the requirements of operation theatre lamp, description of the maintenance procedures of typical faults. theatre table: explanation of the requirements of operation theatre table, description of the maintenance procedures of typical faults. Electro Surgical Equipment; effects of current on biological tissue, electro surgery, electrosurgical Unit (ESU), precautions.Anaesthetic machine and respirators; principle of anaesthesia, operational principles of anaesthetic machine, need for respirators, operational principle of respirators, need for spirometers of first  line maintenance of anaesthetic machine, respirators, and spirometers, calibration methods. Laparoscopy unit; introduction to laparoscopy, main parts and principle of operation, fault diagnosis.ICU equipment; artificial ventilator, patient monitoring systems, infusion pump, defibrillator. Biomedical telemetry and telemedicine; introduction to telemetry and telemedicine, application of telemetry and telemedicine in health system.

Physiotherapy Equipment: Introduction to therapeutic equipment; definitions and applications, treatment methods. Low frequency currents treatment; galvanization, iontophoresis, interrupted galvanic currents, faradic currents. Interferential Therapy (I.T); principle of interferential therapy, physiological effects of interferential therapy, applications, maintenance procedures, functional and safety tests. Short wave Therapy; frequencies and wavelengths, physiological effects, technical constructions, application, maintenance procedure, functional and safety tests. Microwave Therapy; frequencies and wavelength, physiological effects, technical construction, application, maintenance procedures, functional and safety tests. Ultra sound Therapy; definition of ultrasound, physiological effects, technical construction (Block diagram), maintenance procedures, functional and safety tests. Traction Machine; constructional parts, application, operation, maintenance.

Practicum:

Operation Theatre Equipment: Operating lamp and table; theatre lamp: identification of the main parts of operation theatre lamp, diagnosis of faults in operation theatre lamp, carrying out repair and maintenance on operation theatre lamp, theatre table, identification of the main parts of operation theatre table, diagnosis of faults in operation theatre table, carrying out repair and maintenance on operation theatre table. Electro surgical Unit (ESU);identification of parts, maintenance, repair and test, safety test. Anaesthetic machines and respirators; identification of parts, diagnosis of faults, serving and repair, safety tests. Laparoscopy unit; identification of main parts, explanation of functions of the main parts, troubleshooting techniques. Physiotherapy Equipment: Muscle and nerve stimulators; handling, use of operation manuals/service, manuals, identification of parts, servicing and repair of faults, safety tests. Interferential Therapy; handling, functional tests, identification of main parts, servicing and repair of parts, perform safety tests. Shortwave diathermy; handling shortwave diathermy unit, identification of parts, repair and servicing, calibrations. Microwave diathermy; handling microwave diathermy, identification of parts, servicing and repair, calibration. Ultrasound Therapy; handling, identification of parts, servicing and repair, functional test. Traction Machine

24.5 Teaching Strategies

- Computers

- LCD and LCD projector

- Blackboard/chalk

- White board/Marker pen

- Laptops

- Video

- Video tapes

- Compact disk

24.6 Teaching/Learning Resources

- Interactive lectures

- Small group discussion

- Demonstration

- Individual assignment

- Group assignment

- Workshop practical placements

24.7 Assessment Strategies

Formative: Cats, Random Assessment Tests, Tests, Quizzes, Take away assignments, Class assignments, End of Semester

Summative: Field Attachment, Practical Reports, Research Projects, Trade Project, FQE

24.8 References/Further Readings

- Joseph Bronzino D. (2000). The Biomedical Engineering Handbook. 2nd edition. Volume I. Florida USA. CRC press.

- Joseph Carr J.and John Brown M. (2001). Introduction to Biomedical Equipment Technology. 4th edition. Upper Saddle River, NJ: Prentice Hall.

- Khandpuir, R.S. (2003). Handbook of Biomedical Instrumentation. 2nd edition. New Delhi: S. Chand and Company.

- Prof. Venkata S. K. and Ram Galgotian, (2007).Biomedical Electronics and Instrumentation. Revised Edition. New Delhi: Tata McGraw- Hill.