FACULITY OF CLINICAL SCIENCES-DEPARTMENT OF CLINICAL MEDICINE

BASIC RADIOLOGY AND IMAGING.

YR 2, SEM 1 SEP 2023.

BASIC PRINCIPLES OF RADIOGRAPHY/MEDICAL IMAGING.

Definition of medical imaging;- it refers to the techniques and technologies use to create visual representations of the inside of the body. Also known as images that the can be used to monitor diagnose, or treat various medical condition.

Imaging can be used to visualize different parts of the body including, bones, muscles, organs, blood vessels and other internal structures.

Medical imaging can be divided into two categories;-

- Diagnostic imaging.

- Therapeutic imaging.

- Diagnostic imaging

-Is used to diagnose and determine the severity of condition include modalities such as  x-ray, computed tomography (CT), magnetic resonance imaging (MRI), ultrasound (US) and nuclear medicine(NM).

2. Therapeutic imaging

-is used to guide procedures such as surgery or radiation therapy, includes modalities such as fluoroscopy, angiographs, and interventional radiology.

Different types of modalities with their principles and functions

- X-ray imaging.

-X – rays are a form of electromagnetic radiation that can pass through many solid objects including the human body. They use x rays to create detailed imaging of internal structures such as bones.

- X ray are created in an evacuated glass tube, high speed electrons that were been propelled across the tube’s vacuum by a significant voltage difference between the cathode and the anode are aimed at a rotating tungsten anode, x rays and heat are produced /released when the electrons hit the anode.

- The x ray tube is inactive until the medical radiation technologist turns it on because x rays can only be created when voltage differential is introduced across the cathode and anode.

Basic principle

- This type of imaging works by directing a beam of x – rays at the area of the body being examined.

- The x –rays pass through the body and are then detected by a special detector, such as an x ray film or digital detector.

- Because bones are denser than other tissues thy absorb more x –rays and appear white on the final image, while softer tissue such as muscles and organs absorb finer x –rays and appears darker.

- The image produced is a two dimensional representation of three dimensional structures of the body, so to obtain a more complete picture, different views are taken to examine the same area from different oversight.

- The image is interpreted by the radiologist, who is a medical doctor who specializes in interpreting medical images, to identify any abnormalities or issues such as broken bones, tumors, or other conditions and provide a diagnosis.

AMA

A normal chest x ray radiograph

Clinical applications of general x-ray

- Commonly used to examine bones for signs of the fracture, dislocation or other injuries.

- It can also detect bone diseases such as osteoporosis, osteoarthritis and bone tumors.

- Used to evaluate the size, shape and position of the heart and blood vessels.

- Used to examine abdominal organs such as the liver, spleen and kidneys as well as detect kidney stones, gallstones and intestinal obstruction.

- Used to evaluate the chest and detect lung conditions such as pneumonia, lung cancer and emphysema.

- In dentistry, x- ray imaging is commonly used to detect tooth decay, abscess and impacted teeth as well as evaluate the jaw and temporo-mandibular joint.

- In emergency departments and trauma centers x – ray imaging is used to quickly and accurately diagnose injuries such as fractures, dislocations and foreign bodies.

- X-rays can be used to monitor the healing of fracture of the response of a tumor to radiation therapy.

Advantages of x ray imaging

- Is widely available in most hospitals, clinics and doctors’ offices making it convenient and accessible diagnostic tool.

- X-ray imaging can be performed quickly and results are ready available within a short period of time.

- Initial cost for purchasing is cheap or maintenance cost is relatively cheap.

- It’s a non-invasive technique (meaning that it does not involve the use of incisions or injections, making it relatively safe   and comfortable for the patient.

Limitations of x- ray imaging.

- Limited to contrast – it’s not a signed as other modalities to distinguish between different types of tissues such as tumors and normal tissues.

- It produces 2D representation of the 3D structures of the body which can make it difficult to visualize certain internal structures, this limitation can make it difficult to understand some areas of internal structures and make it hard to diagnose certain issues

- Computed tomography (CT) imaging.

CT-uses x-rays to create detailed cross-sectional images of the body. This a=images can be used to diagnose and monitor a wide range of conditions including; cancers, heart diseases, and injuries to the bones and internal organs.

Basic principle of CT

- CT scans use x rays to create detailed images of internal structures by directing the x rays at the body from different angles and measuring the intensity of the x rays that pass through the body with detectors.

- A special type of x ray detectors called multislice detector is used in CT-scans, which can acquire multiple images at the same time from different angles, allowing for the creation of detailed-cross-sectional images of the body.

- To improve image quality, also use techniques such as spatial filtering which removes noise and improves contrast.  And mult-energy  imaging, which uses different image level of x ray beam to capture different information and increase image contrast.

- CT scan uses a technique called dose modulation, which adjusts the radiation dose according to the size, shape and composition of the body part being scanned, reducing the risk of side effects.

- The images being formed from CT scans are then processed by a computer and can be viewed in different ways such as cross sectional slices, 3D images and even virtual reality image.

Clinical application of CT scan.

- Imaging of the brain and head for abnormalities e.g. tumors, bleeding or trauma.

- Also used to evaluate the sinuses, ears and eyes.

- Chest CT to evaluate the lungs for conditions such as pneumonia, lung cancer and emphysema.

- Can be used to evaluate heart and blood vessels.

- CT technique called CT angiography (CT A), uses contrast material and imaging technique to visualize blood vessels. The technique can be used to evaluate blood vessels of the head, neck, chest and abdomen, and can also be used to evaluate for blood clots, aneurysms and blockages in blood vessels.

Advantages of CT imaging

- It’s high resolution which allows it to reveal fine details of internal structures such as bones, organs and blood vessels.

- It’s widely available in hospitals, clinics and Doctors’ offices, makes it convenient and accessible diagnostic tool.

- It does not need any kind of incisions or injection, making it relatively safe and comfortable for the patient.

- CT imaging is fast and efficient, with results usually available within a short period of time. This allows for quick identification of any issues and prompt treatment.

Limitations of CT imaging to consider

- Exposure to ionizing radiation- which can cause cancer and other health problems, especially in the case of multiple scans or in pregnant women.

- Its limited to dynamic imaging, it can’t capture dynamic processes such as blood flow or organ function, and other modalities such as fluoroscopy or angiography can be better suited for those situations.

- CT- scanners are relatively expensive and require a significant investment, which can be limitation to some facilities.

- It is important to balance CT- scans benefits and risks and consider alternative imaging modalities when appropriate.

Diagram 1; digital X- ray machine

Diagram 2; modern CT scan