ORGAN FUNCTION

1.THE KIDNEY.

The kidney is a vital organ that performs a variety of important functions of the body. The kidney is the organ that forms and excrete urine. There are two kidneys in the body, one on each side of the vertebral column at the posterior side of the abdomen.

Anatomical structure

Kidney is a bean shaped specialized organ enclosed in a capsule of fibrous tissue. Underneath the capsule lies the cortex followed by medulla which contains the reabsorbing tubules and collecting ducts.

Anatomical structure

Kidney functions are renal functions. The functional unit of the kidney is the nephron. Each kidney contains approximately one million nephrons.

The nephron

Nephron is a thin, long tubule consisting of a dilated cup shaped structure known as the Bowman’s capsule which surrounds a mass of capillaries. The nephron is composed of:

- Glomerulus

- Proximal convoluted tubule

- Loop of Henle

- Distal convoluted tubule

- Collecting duct

Anatomical structure

Formation of urine

Urine is the fluid containing mainly water and metabolic wastes formed and excreted by the kidney. Urine is formed in the nephrone by a combination of two processes. These are:

- Simple filtration (glomerulus function )

- Selective reabsorption (tubular function)

Simple filtration

This process occurs between the glomerulus and Bowman’s capsule. Approximately 1200ml/min of blood is supplied to the kidney by the afferent arteriole and drained by efferent arteriole.                                                                                       Higher blood pressure in the glomerulus results into the passage of filtrate through semi-permeable membrane at the rate of 120ml/min. This is the glomerulus filtration rate. The filtrate contains soluble substances of smaller molecule size. These include:

- Electrolytes

- Glucose

- Urea

- Amino acid

- Water

- Creatinine and other substances with small molecular size

Cells and plasma proteins do not pass through due to their large molecular size. The glomerulus filtrate then passes into the proximal convoluted tubule.

Selective reabsorption

Filtrate enters the proximal convoluted tubule where 80% of water and essential selected substances such as:

- Glucose

- Sodium chloride

- Phosphates

- Amino acids

- Urate are reabsorbed into the peritubular capillaries

20% of the tubular fluid enters the loop of Henle where water is passively reabsorbed.

6ml/min of filtrate enters the distal tubule where there is an active reabsorption of sodium. Fluid leaves the distal tubule passing into the collecting duct in the form of urine at a rate of 1ml/min.

Normally, the daily urine output is between (1-----2) litres. Volume and composition of the urine depends on the:

- Types of food consumed

- Volume of liquid taken

- Amount of liquid lost through other routes

- Environment

- Exercise

The control mechanism for regulation of sodium and water reabsorption rest on the interplay of two hormones namely, the aldosterone and anti-diuretic hormone respectively. Failure of the pituitary to produce anti-diuretic hormone results into failure to reabsorb water. The amount of water passing to the bladder increases, a condition known as diuresis.

The net effect of urine formation is to:

- Excrete waste products

- Preserve the fluid –volume

_Osmotic pressure

_PH

_Ionic equilibrium

- Urine output to above 1.5 litres is a condition described as polyuria as found in patients suffering from                                                                    _Diabetic mellitus

_Diabetic insipidus

_Myeloid

Oliguria is reduced urine output to less than 1.0 litre as found in:

- Fever

- Heart disease

- Vomiting

- Diarrhea

- Disturbed renal blood flow

Anuria is completely suppression of urine output as occurs in:

- Blood transfusion reactions

- Crush syndrome

- Chemical poisoning

Kidney functions

- Kidneys are organs involved in the excretion of waste products

- Maintenance of water and electrolytes balance through the aldosterone and anti-diuretic hormone

- Maintenance of blood PH at between 7.36--------7.42

- Filtrates the blood stream to the Bowman’s capsule, a process known as ultrafiltration

- Produces hormones such as erythropoietin, renin and prostaglandins

- Select and reabsorb desirable elements in the filtrate

- Control of the urine concentration

Disturbance of renal function

Normal urine formation needs: -functioning kidney

: -adequate blood supply

: -sufficient blood pressure

: -no obstruction to urine flow

The malfunction of kidney in the formation and excretion of urine is attributed into three causes: -pre-renal

: -renal

: -post renal

1.Pre renal factors are correctable and usually affect :-

-blood volume

- blood flow

- blood pressure as happen in patients suffering from cardiac failure, dehydration and in shock

2. Renal factors are those involving the kidneys themselves and may affect the:

- Glomerular filtration rate

- Various tubular activities

- Peritubular blood vessels

3.Post renal factors are those that obstruct the urine flow such as:

:-tumors

:-calculi

:-enlargement of prostate gland

Some of the renal diseases that produce diffuse involvement of kidney include:

- Glomerulonephritis, an inflammatory disease affecting the glomerulus

- Nephritic syndrome characterised by :-heavy proteinuria

:-hypoalbuminemia

:-oedema

:-hyperlipidimia

- Pyelonephritis, an inflammatory renal disease caused by bacterial infection that ascend the urinary tract and invade the kidney

Renal threshold

The renal threshold of a substance is the highest level at which the substance is present in the blood before it is passed in the urine. Glucose is a high renal threshold substance, is completely reabsorbed from the tubular fluid and only appears in the urine when its blood level exceeds 10.0mmol/l of blood

Urea has a  renal threshold value of zero since it is not reabsorbed from the renal tubular fluid, is always present in the urine as a normal constituent so is creatinine. The renal threshold of any substance can be altered by impaired renal function.

Physical characteristic of normal urine.                                              Freshly voided urine should be clear, but turbidity may develop on standing at room temperature due to precipitation of some constituents as a result of PH and temperature change.

The yellow or amber colour of freshly voided urine is due to the presence of a pigment called urochrome, though can be abnormally coloured by dyes from previous meals and drugs such as sweets and certain drugs.

Freshly voided normal urine has a characteristic aromatic smell due to volatile organic acids. However, when allowed to stand at room temperature it develops an ammoniacal smell as bacteria decomposes urea to ammonia. Freshly voided normal urine is usually acidic with a PH of 6.0

Abnormal constituents of urine

These are substances excreted by the kidneys in smaller amounts under normal conditions, but when the kidney or other organs are diseased, they are excreted in large quantities or not excreted at all.

Kidney diseases may lead to the excretion of:

- Pus cells

- Red blood cells

- Yeast cells

- Protein

- Organisms----e.g. Trichomonas vaginalis

. Schistosoma haematobium

Several other substances abnormally excreted in urine include, glucose and ketone bodies.

Urinary protein

Protein is a large complex molecule in the plasma. It is incapable of filtering through the semi-permeable membrane of the glomerulus. It cannot therefore be passed in urine.

However, traces of protein can be detected chemically in the urine, most of which comes from the genitor urinary tract. The presence of detectable proteins in urine is known as proteinuria.

Non pathological proteinuria may be due to:

: -strenuous muscle exercise

: -in pregnancy

Most of it is not from the plasms, but originate from                                :  -prostate

: -semen

: -vaginal secretions

:-seminal vesicles

Pathological protein in urine occurs in increased permeability of the glomerulus capillary membrane to plasma proteins due to injury in the glomerular as a results of:

- Bacterial infection

- Chemical poisoning                                                                                                                        Crush syndrome

Bence jones protein

Bence jones protein is a low molecular size protein capable of passing through capillary membrane of the glomerulus. Each molecule contains single peptide chains of either kappa(k), or lambda(λ). Bence jones proteinuria is associated with a type of cancer of the bone marrow known as multiple myeloma.

Peculiar characteristic of bence jones protein

When the urine containing the bence jones protein is heated, the protein:

: -precipitate at (40---60) degrees centigrade

: -dissolves at above 60 degrees centigrade

: -re-precipitate at (60---40) degrees centigrade

Bence jones protein is unlike plasma protein. Plasma protein precipitates irreversibly at temperature above 60 degrees centigrade. Bence jones protein is also known as paraprotein or myeloma protein.

TESTING URINE FOR PROTEIN

Tests for proteinuria include: 1. Boiling test/Heat test

2.Turbidimetric method

3. Nitric acid ring test

4. Reagent paper strip

Boiling test/Heat test

Boiling test/Heat test is a general test for all proteins.

Reagent: 33% acetic acid

Principle: Proteins are denatured and coagulate when heated in slightly acidic media.

Procedure: 1.Pipette 10mls of centrifuged urine in a test tube

2. Hold the test tube and heat the top part of the urine until it boils

3. Look for any turbidity

4. Add 3 drops of 33% acetic acid and boil again

5. Look for turbidity again

Results: If turbidity forms and persist after adding 33% acetic acid then protein is present.

Turbidimetric method                                                                                                           Turbidimetric tests are Sulphosalicylic acid test whose reagent is :                                 (25% sulphosalicylic acid in distilled water) and Trichloroacetic acid test whose reagent is 3% trichloroacetic acid in distilled water.

Principle: Protein is precipitated by 25% sulphosalicylic acid to form a precipitate whose

Intensity is directly proportional to the amount of protein present.

Procedure: 1. Pipette 6mls of urine in a test tube

2. Add 2mls of 25% sulphosalicylic acid

3. Mix and observe for turbidity

Results: Turbidity indicates the presence of protein in urine.

Nitric acid ring test

Reagent used is concentrated nitric acid.

Principle: If urine containing some protein is carefully layered on concentrated nitric acid, protein is precipitated forming a white ring at the interface of the two fluids. The test is not specific because uric acid and urea give positive results.

Reagent paper strip

Reagent paper strip for protein detection is known as albustix.

Principle: Albustix strip is yellow in colour but changes to green in the presence of protein.

Procedure:   * Dip the reagent strip in freshly voided urine.

*Remove it immediately.

*Compare the test areas with the colour charts.

Results: A green colour indicates the presence of protein.

Other methods used for demonstrating proteins in urine are Esbach’s albuminometer and Electrophoresis.

Testing urine for bence jones protein

Three methods of evaluating bence jones proteins are available. These are :

- Heat test

- Electrophoresis

- Bradshaw’s test

Heat test is also known as Harrison test. The heat teat is based on the peculiar characteristic of bence jones protein which precipitates in acidic media between (40 --- 60) degrees and dissolves above and below these temperatures. The reagent used in this test is 33% acetic acid.

Bradshaw’s test

This is the most useful screening and reliable test than the heating method.

Reagent: Concentrated hydrochloric acid.

Principle: Bence jones protein is precipitated by concentrated hydrochloric acid giving a white ring at the interface of the two liquids

Electrophoresis is a technique which involves the separation of protein into fractions in a buffered medium at a fixed PH in electric current. In electrophoresis, the protein molecule separates into albumin, α1, α2, β and ϒ globulin. Electrophoresis of urinary protein the bence jones protein if present, the abnormal sharp band will migrate between the β and ϒ globulin positions.

Urine preservatives

Freshly voided urine constituents keep on changing at room temperature. Urine becomes alkaline due to the formation of the ammonium carbonate from urea by bacterial action.To avoid any urine constituents changes, it is necessary to analyse the single urine specimen as early as possible. However, if there is going to be a delay, for a 24hour urine specimen the following preservatives are used.

- Concentrated hydrochloric acid which is suitable for the determinations like urea, calcium, ammonia, total nitrogen and 17-ketosteroids.

- Thymol crystals which are suitable for the determinations like sodium, potassium, chloride, bicarbonate, calcium, phosphorus, urea, ammonia, amino acids, protein and creatinine.

Blood in urine

Blood is a large molecular size substance impermeable to the glomerulus capillary membrane.

Under normal physiology of the kidneys blood cannot be found in the urine. The presence of intact red blood cells in urine is called haematuria, which is abnormal as in the case of:

- Acute glomerulonephritis

- Parasitic infection

- Crush syndrome

- Blood transfusion reactions

The detection of blood in urine sample from menstruating patient is considered to be normal.

Free Haemoglobin in urine.

The presence of free haemoglobin in urine is known as haemoglobinuria. This occurs as a result of intravascular haemolysis of red blood cells with the release of free haemoglobin into the plasma. Causes of haemoglobinuria include: -haemolytic anaemia

: -blood transfusion reactions

: -typhoid fever

: -sickle cell anaemia

Intravascular haemolysis is associated with severe plasmodium falciparum infection which give a condition known as black water fever. This is due to the colour of the urine produced as a result of free haemoglobin. In haemoglobinuria red blood cells will not be seen in the urine but in haematuria on the other hand, red blood cells are present in fresh urine specimens.

Similar chemical methods therefore can be applied for the detection of both haematuria and haemoglobinuria, though haematuria can as well be demonstrated microscopically.

Porphobilinogen

Porphobilinogen is a monopyrole intermediate in the formation of haem. In porphyrin metabolism, compounds consist of 4-pyrole rings joined by methylene bridges linked to several side chains. Urine contain mainly coproporphyrinogen with smaller quantities of uroporphyrinogens. In disorders of porphyrin metabolism, various porphyrins and their precursor are excreted in urine.

Phenylketonuria

Phenylketonuria is the excretion of phenylketoacid in the urine. Phenylketonuria is a disorder in the metabolism of phenylalanine to form tyrosine.Alternatively  phenylalanine istransaminated and converted to phenylpyruvic acid, a ketoacid which accumulates in the blood and is passed 2

The abnormality is an inborn error of amino acid metabolism and manifest itself as early as between two to three weeks after birth. If not detected and treated early by dietary control, the disorder leads to mental retardation.

Reducing substances

Reducing substances are substances capable of reducing cupric ions to cuprous ions in an alkaline media. Thus: Cu2t-------Cut

Substances with reducing properties may be sugars or non sugars. Reducing sugars include:

- Glucose

- Fructose

- Galactose

- Lactose

- Pentose

- Maltose

Non reducing sugars include:

- Drugs

- Uric acid

- Creatinine

- Glucuronic acid

Microscopic examination of urine

The microscopic examination of urine is done to reveal particular constituents of urine deposits. The urine to be examined should be freshly voided as delays may result in disintegration of cells.

In order to examine urine microscopically, a urine deposit should be prepared as follows:

1. Centrifuge approximately 10mls of urine and decant the supernatant fluid

2. Tap the bottom of the centrifuge tube to loosen the urine deposit and place one drop on a clean glass slide.

3. Cover the drop with a cover slip avoiding the formation of air bubbles.

4. Examine under the microscope using power (×10) and power (×40) objectives.

Examination of urine microscopically may yield valuable information of either positive or negative character.

The urine deposit constituent revealed microscopically is divided into three groups.

- Organised deposit

- Unorganised deposit

- Miscelleneous deposit

Organised deposits are:-Cells (red blood cells, pus cells, epithelial cells)

:-Casts (hyaline, granular, cellular)

:-Parasites (schistosoma haematobium, trichomonas vaginalis).

Unorganised deposit are crystalline and amorphous substances which appear in urine physiologically or pathologically. Chemical substances present in urine are either amorphous or crystalline and can appear in acidic urine, basic urine, or both.

Chemical substances include:

- calcium oxalate

- calcium carbonate

- uric acid

- calcium sulphate

- amorphous phosphate

Miscellaneous inclusions are contaminants which include:

:-hair

:-cotton

:-threads

:-oil droplets

:-pubbic lice

:-air bubbles

Urinalysis

Urinalysis is the study on urine specimen leading to the revelation of substances abnormally present in the urine. This study involves a number of procedures:

-: chemically

-: visually

-: microscopically

Urinalysis is divided into two categories : -Qualitative analysis

: -Quantitative analysis

Qualitative analysis

Qualitative analysis is the chemical detection of substances abnormally present in the urine. This involves performing of tests using certain chemicals to reveal the presence of substances in the urine such a :- protein

:-bence jones protein

:-reducing substances

:-bile pigments

:-bile salts among others.

In qualitative analysis, there is need to put in consideration the: : - principle                                                                                                : -reagent

: -procedure

: -Result

Quantitative analysis

Quantitative analysis is the determination of the actual amount of substances abnormally present in the urine. The substances usually present in the urine for quantitation include:

- specific gravity

- PH

- Protein

- Glucose

- Urea

- Urinary amylase.

Standard procedure of carrying out urinalysis

Perform visual examination of the gross specimen for physical characteristics of the urine, (i .e  colour, clarity and turbidity). Perform chemical detection test using a dipstick (multstiks) on a well mixed urine sample to demonstrate chemical substances such as:-

- Glucose

- Protein

- Nitrites

- Bilirubin

- Urobilinogen

- Blood/haemoglobin

- Ketone bodies

Prepare urine deposit by centrifuging   an aliquote of a well mixed urine sample and examine microscopically for deposits.

QUALITATIVE ANALYSIS

Testing urine for blood by chemical method using Haemastix

Haemastix is a reagent cellulose paper strip impregnated with O-tollidine, a chromogen system that turns blue in the presence of blood. O-tollidine test reagent is a buffered mixture of organic peroxide and O-tollidine.

Principle: Free haemoglobin in the urine has peroxidase like activity. It catalyses the release of oxygen from the peroxide which oxidizes the chromogen(o-tollidine) changing its colour from orange to blue.

Procedure:-Dip the strip in an uncentrifuged fresh urine specimen

:-Remove and tap the edge of the strip against the container to remove any excess  urine.

:-Compare the colour formed with the colour on the chart after 30 seconds

:-Report the results.

Testing urine for blood using a spectroscope

Haemoglobinuria can be detected by using an instrument called spectroscope. The instrument identifys coloured materials in dilute solution by its ability to absorb some colours of the spectrum.

Bile pigments

Bile pigments are coloured constituents of the bile. Bilirubin which is yellow in colour is the principal pigment while biliverdin is the other pigment which is green in colour. Bile is composed of bilirubin, biliverdin and bile salts(sodium and potassium).

Bile pigments are synthesized in the liver from the metabolism of haemoglobin. Haemoglobin from the destruction of red blood cells is subjected to a series of enzyme cataysed degradation metabolic reactions and converted to biliverdin.

Biliverdin so formed is quickly reduced by tissue enzymes to form bilirubin. This bilirubin is known as indirect bilirubin. Indirect bilirubin is carried in the plasma to specialized cells of the liver where it conjugates with glucuronic acid to form direct bilirubin which is refered to as bilirubin glucuronide.

The direct bilirubin is passed into the gall bladder where it is concentrated to form part of the bile. When food passes into the duodenum, it stimulates the secretion of the bile which reaches the intestines via the bile duct.

Bilirubin in the bile is converted by the enteric bacteria into stercobilinogen (a colourless substance). Some of the stercobilinogen is passed out in the stool. On standing, stercobilinogen is converted by atmospheric oxygen into stercobilin which is brown in colour.

A fraction of stercobilinogen diffuses from the intestines into the blood stream where it passes in urine as urobilinogen ( a colourless substance ). Urobilinogen is converted by atmospheric oxygen to form urobilin which is brown in colour.

Testing urine for bilirubin

Bilirubin is not normally passed in urine in detectable levels, but when detected in urine, is a condition known as bilirubinuria. Bilirubinuria occurs whenever there is an increase of conjugated bilirubi testn in the blood as happen in obstructive jaundice and infectious hepatitis.

Tests for detecting bilirubinuria are divided into three groups:

1. Tests based on the oxidation of bilirubin to biliverdin. These tests are:

- Fouchets test

- Gmelins nitric acid ring test

- Iodine test

2.Tests based on the diazotization of bilirubin to a coloured comound. These are:

- Ictostix

- Ictotest

3. Tests based on the colour of urine froth (shaken urine). This technique is based on the formation of yellow foam following vigorous shaking of the urine.

OXIDATION TESTS

Fouchets test

Reagents: 10% barium chloride in distilled water

: Fouchets reagent

Principle: Bilirubin is oxidized by Fouchets reagent to form biliverdin which is green in colour.

Procedure: -Dispence 5.0ml of urine in a centrifuge tube

: -Add 2.5ml of 10% barium chloride and mix

: -Spin the mixture at 2000 rpm for 3minutes

: -Pour off the supernatant completely

: -Add one drop of Fouchets reagent

:-Observe the colour on the top surface

Results: Green colour indicates the presence of bilirubin.

Gmelins nitric acid ring test

Reagents: Concentrated nitric acid.

Principle: Concentrated nitric acid oxidizes bilirubin in urine to form biliverdin whose green colour appears at the interface of the two fluids.

Procedure:- Pipette 5.0ml of concentrated nitric acid to a test tube

:- Carefully, without shaking add 0.1ml of urine with a pipette

:- Observe the colour at the interface

Results: A green ring formation at the interface indicates the presence of bilirubin in the urine.

Iodine test for bilirubin

Reagents: Tincture of iodine

Principle: Iodine oxidizes bilirubin in the urine to form biliverdin whose green colour appears at the interface of the two liquids.

Procedure: -Put 5.0ml of urine into a test tube

: - Add 1.0ml of tincture of iodine with a pipette without shaking

: - Observe the colour at the interface.

Results: A green ring formation at the interface of the two fluids indicates the presence of bilirubin in the urine.

DIAZOTIZATION TESTS

Ictostix  test

Ictostix is a paper reagent strip impregnated with stabilized reagent ( 2, 4-dichloro-aniline ) for the detection of bilirubin in urine.

Principle: Bilirubin couples with diazotized reagent to form azobilirubin which is brown in colour.

Procedure: - Dip the strip into a well-mixed urine sample and remove immediately.

: - Tap the edge of the urine container to remove excess urine.

: - Compare the colour change of the test area with colour chart provided after 30 seconds.

Results: - Pale yellow to brownish colour indicates the presence of bilirubin whose concentration varies with the intensity of the colour.

Ictotest test

Ictotest test  is a reagent tablet  impregnated with diazo reagent for the detection of bilirubin in urine as well as in plasma.

Principle: - Bilirubin couples with diazotized sulphanilic acid to form azobilirubin which is a purple coloured compound.

Procedure: - Moisten the special test paper mat provided with 5 drops of urine.

: - Place one tablet in the middle of the moistened area.

: - Flow 2 drops of distilled water over the tablet.

: - Observe colour of the mat around the tablet exactly after 30 seconds.

Results: - Purple colour of the mat around the tablet after 30 seconds indicates the presence of bilirubin in urine.

TESTS BASED ON THE COLOUR OF FROTH

The froth test

This is a crude method of detecting bilirubin in urine. The technique is based on the production of yellow foam following vigorous shaking of the urine container.

Procedure:- Shake vigorously a bottle containing about 10ml of urine and observe the colour of the froth in day light. Compare with that of the normal urine.

Results:- Formation of yellow foam following vigorous shaking of the urine indicates the presence of bilirubin in the urine.

Bile salts

Bile salts are the sodium and potassium salts of conjugated bile acids with glycine or taurine. In this foam the bile acids are water soluble, example of which are cholic acid, deoxycholic acid, chenodeoxycholic acid and lithocholic acid.

Once synthesized in the liver, bile salts are excreted in the bile forming one of the chief constituents of the bile. Bile salts are readily soluble in water and have an emulsifying action on fats. This property in the intestines play an important role in the digestion and absorption of fats and fat soluble vitamins A, D, E and K.

Bile salts and bile pigments are usually present in the urine in obstructive jaundice. In biliary obstruction no bile or bile salts reaches to the intestines. Consequently, the bile accumulates in the gall bladder, creating a back pressure causing the diffusing of the bile into the perilobar lymphatics and into the blood stream. This is when bile salts are excreted in the urine together with other bile pigments.

Testing urine for bile salts

Bile salts test is known as Hay’s test. Hay’s test utilizes the property of bile salts of reducing surface tension of liquids including urine.

Hay’s test

Reagent: Sulphur powder

Principle: Bile salts lower the surface tension of liquids such that when surlphur powder is sprinkled on the surface, it sinks.

Procedure: - Place fresh clear urine in a beaker.

: - Sprinkle a finely powdered sulphur on the surface.

: - Observe wether powder floats or sinks.

Results: Sulphur particles sink in the presence of bile salts.

Testing urine for phenyl pyruvic acid

The presence of phenyl pyruvic acid in urine is a transamination metabolite of phenylalanine due to a deficiency of phenylalanine hydroxylase enzyme. Instead phenyl pyruvic aid is formed, accumulates in the blood and excreted in the urine giving a condition known as phenylketonuria.

Phenylketonuria is an inborn error of phenylalanine metabolism which manifests early at between two to three weeks after birth. If not diagnosed and treated by dietary control leads to mental retardation. The tests for detecting phenyl pyruvic acid in urine are:

- Ferric chloride test

- Phenistix test

Ferric chloride test

Reagent: Ferric chloride

Principle: Addition of ferric chloride to phenylketonuria gives a green/blue colour which fades out to a yellow colour after few minutes.

Phenistix test

Reagent: Phenistix reagent.

Phenistix reagent is a paper strip impregnated wit:

- Ferric ammonium sulphat

-Magnesium sulpha

- Cyclohexylsulphamic acid

Principle: Ferric ions at a suitable PH react with phenyl pyruvic acid to give a greyish-green colour.

Cyclohexylsulphamic acid maintains the desired PH – 2.3

Magnesium salt minimizes interference by phosphates

Testing urine for ketone bodies

Ketone bodies are end products of incomplete oxidation of fats as occur in disorders of carbohydrate metabolism (diabetes mellitus) and carbohydrate deprivation (starvation).

During these situations there occurs an increase in oxidation of fats to provide energy. The liver yields acetoacetyl CoA at a rate greater than can be utilized by peripheral muscle for energy.

Excess acetoacetyl CoA is converted to acetoacetic  acid, the principle ketone body. Acetoacetic acid is decarboxylated to acetone while some is reduced to β-hydroxybutyric acid.

This results into the accumulation of ketone bodies in the blood, a condition known as ketonaemia. Some of it is excreted into the urine, a condition which is known as ketonuria. The detection of ketone bodies in the urine is important as part of the routine tests for diagnosing diabetes.

Tests done to detect ketone bodies in urine are:

:-Rothera’s nitroprusside test

:-Gerhardt’s ferric chloride test

Rothera’s nitroprusside test

Reagents: Rothera’s nitroprusside reagent

:Concentrated ammonia solution

Principle: Nitroprusside reacts with a ketone group in an alkaline medium to give a purple colour.

Procedure: - Put 1.0gm of Rothera’s reagent in a test tube

: - Add 5.0ml of urine and shake to dissolve

: - Add 1.0ml of concentrated ammonia solution and shake to mix

: - Observe for the colour change

Results: Purple colour is given by acetoacetic acid and acetone both of which contain a keto group. Β-hydroxybutyric acid lacks a keto group, it does not give a positive reaction with Rothera’s nitroprusside reagent.

Gerhardt’s ferric chloride test

Reagent: 10% ferric chloride

Principle: Acetoacetic acid reacts with ferric chloride to form a purple colour.

Procedure:- Add the 10% ferric chloride solution drop by drop to 5.0ml of urine and observe.

Results: A red or purple colour is given by acetoacetic acid as positive test. Acetone and β-hydroxybutyric acid do not give a positive test with Gerhardt’s ferric chloride test.

Ferric chloride purple colour is also given by salicylates and salicylic acid which are not ketone bodies. This explains the non specificity of Gerhardt’s test.

Consequently following positive Gerhardt’s test, the urine should be boiled and retested for acetoacetic acid.

Results: No purple colour is positive test for acetoacetic acid.

Presence of purple colour is negative test for acetoacetate

This is because acetoacetate is volatile. It escapes from the urine upon boiling. Other tests used to detect ketone bodies in urine are :-Acetest (tablet form)

:-Ketostix (paper strip form )

Testing urine for reducing substances

Reducing substances are substances that are capable of reducing blue cupric ions to red cuprous ions in an alkaline media. Reducing substances are divided into:

- Sugars which in include :- glucose

: - lactose

: - fructose

: - galactose

: - pentose

- Non sugars which include  :- glucuronic acid

: - uric acid

: - salicyluric acid

: - creatinine

Sucrose will not reduce the alkaline copper reagent though it is a sugar because it lacks free reducing group. Quantitative tests for reducing sugars are Benedict’s test and Clinitest test.

Benedict’s test

Reagents: Benedict’s reagent which contain: - copper sulphate

: - sodium citrate

:-sodium carbonate

Principle: When reducing sugar is heated with Benedict’s solution, reduce cupric sulphate to cuprous oxide. If  no reducing substance is present, insoluble black cuprous oxide is formed instead.

Clinitest test

Clinitest is a cellulose tabet impregnated with Benedict’s reagent which contain:

: - copper sulphate

: - sodium hydroxide

: - sodium bicarbonate

: - citric acid

Principle: Sodium hydroxide react with citric acid producing intence heat which boils the mixture. If reducing substance is present, will reduce the copper sulphate in an alkaline media to cuprous oxide.

Specific tests for identifying reducing substances

Following a positive test with Benedict’s test or clinitest test it is possible to detect individual sugars in urine by performing further tests that are specific for their identification.

Specific tests for individual reducing substance in urine are:

- Clinistix------for glucose

- Glucotest----for glucose

- Seliwanoff’s test------for fructose

- Methylamine test---- for lactose and maltose

- Bial’s test ------------------for pentose

Clinistix test and glucotest test

Clinistix test and glucotest test are based on glucose oxidase reaction.

Principle: Glucose in urine is oxidized by atmospheric oxygen in the presence o glucose oxidase on the reagent to gluconic acid and hydrogen peroxide. Hydrogen peroxide in the presence of hydrogen peroxidase enzyme on the reagent oxidizes the chromogen system from colourless or cream to shades of purple.

Seliwanoff’s test for fructose

Fructose is a reducing sugar from fruits, honey and jam.

Reagents: Reagents: - Resorcinol

: - Concentrated hydrochloric acid

: - Distilled water

Principle: When fructose is boiled with HCL, yield a derivative of furfuraldehyde which condenses with resorcinol to form a red coloured compound. Fructose gives a red colour within 30 seconds. Glucose when present in high levels gives false positive on further boiling.

Bial’s test for pentoses

Pentoses are monosaccharides with 5-carbon atoms in their molecules. Pentoses are non-fermentable by yeast and are obtained from fruits and fruit products such as plums and cherries.

Reagents: Bial’s reagent which contain orcinol in concentrated HCL and 10% ferric chloride.

Principle: Pentoses when boiled with Bial’s reagent form a green colour within 30 seconds

Methylamine test for lactose and maltose

Lactose and maltose are disaccharides consisting of two monosaccharisdes condensed.

Reagent: - Methylamine hydrochloride

: -Sodium hydroxide

Principle: Lactose and maltose when warmed with methylamine hydrochloride in an alkaline medium form a red coloured compound. Methylamine test positive is confirmatory for lactosuria as maltose is not usually found in urine.

Yeast fermentation test for glucose and fructose

Reagent: -Brewers yeast

: - Bakers yeast

: - Commercial prepared yeast

Principle: Some sugars such as fructose and glucose when incubated with yeast, yield ethyl alcohol and carbon dioxide which turns lime water milk.

Sucrose is also fermented though is not a reducing sugar. When sucrose is boiled with an acid, glucose and fructose are formed.

RENAL FUNCTION TESTS

Renal function is monitored by the determination of non protein nitrogenous substances. The majority of which arise from the catabolism of proteins and nucleic acids. The most important in plasma concentration in medical practice are:

- Urea…………………………………….45%

- Amino acid…………………………..20%

- Uric acid……………………………….20%

- Creatinine………………………………5%

- Ammonia……………………………….0.2%

The term non protein nitrogen refers to nitrogen from sources other than protein. It originated

when analytical methodology required the removal of protein from sample before analysis. In plasma, total non-protein nitrogen levels range from (14---20)mmol/l whereas whole blood contains (18---36)mmol/l owing to the contribution from glutathione and nucleotide nitrogen in the cells. In most cases non protein nitrogen determination gives the same information as serum urea.

Urea forms the greatest part of the total non-protein nitrogen. Nearly half of the non-protein substances in the blood is urea.

Urea

Urea is a naturally occurring diamide of carbonic acid as per the formula……………………………Urea is the main end product of protein metabolism in the liver. It is formed by carbon dioxide and ammonia arising from the deamination of amino acids in the ornithine or Krebs Henseleit cycle.

The formation of urea in the liver involves a series of complicated reactions where NH3 combine with CO2 and H20 to form carbonyl phosphate, which combines with ornithine to form centrulline. Centrulline in turn combines with a molecule of NH3 to form argininosuccinic acid which then splits into arginine and fumarate with a release of a molecule of urea as the cycle ends and another cycle begins with the reproduction of ornithine from arginine

The urea cycle (Krebs Henseleit cycle) can be summarized in a flow diagram as illustrated below.

Urea cycle

Urea formed in the liver is carried by the plasma to the kidney where it is filtered from the plasma by the glomerulus. Most of the urea in the filtrate is excreted in the urine while small amount is excreted through the gastrointestinal tract and the skin.

Urea accounts for 80-----90% of nitrogen excreted in the urine. Man and other vertebrates excrete excess nitrogenous waste in this form and are accordingly referred to as ureotelic.

In health blood always contain some urea ranging from 15-----40mg/100ml (2.5-----6.6) mmol/l on an ordinary diet. Urea diffuses readily across membranes and is therefore to be found  roughly at similar levels in other body fluids such as cerebrospinal fluid, whole blood, plasma and oedema fluids.

Blood urea determination

In clinical significance, the determination of blood urea aids in the diagnosis of renal disease.

Though urea is formed in the liver, it is raised in the blood in disease conditions associated with its excretion as happen in renal failure as well as in circulatory failure.

Quantitative tests for blood urea determination

Quantitative tests for blood urea determination include:

- Tests that are directed at the quantitation of ammonia liberated when urea is hydrolysed by urease. These tests make use of either Nesslers reagent or sodium hypochloride to react with ammonia to develop a colour whose concentration is measured photoabsorptionmetrically and is directly proportional to the amount of urea present.

- Urastrat method Tests based at the quantitation of colour formed when urea is heated with compounds containing two adjacent carbonyl groups such as diacetyl (CH3COCOCH3).

- Several methods were developed for the estimation of blood urea. These include:

- Berthelot method

- Azostix method

- Diacetyl monoxime manual method

Colorimetric determination of blood urea using Diacetyl monoxime manual method.

Reagent: - 10% TCA as protein precipitant

: - Acidified Diacetyl monoxime

:-Urea standard

The sample for the test is prepared by adding equal volume of distilled water and 10% TCA to 0.2ml serum, mix well and centrifuge at 3000 rpm for 10 minutes.

Principle: When urea is heated with substances such as diacetyl containing two adjacent carbonyl groups coloured compounds are formed which can be measured colorimetrically at transmission 520 nm. The colour formed is directly proportional to the amount of urea present.

Procedure:Arrange 3 labelled test tubes in a rack and add solutions as shown in the table.

| Test tubes | Blank | Test | Standard |
| --- | --- | --- | --- |
| Protein free supernatant | -------- | 0.2ml | -------- |
| Distilled H2O | 0.2ml | -------- | -------- |
| Urea standard | -------- | -------- | 0.2ml |
| Colour reagent (Diacetyl monoxime) | 3.0ml | 3.0ml | 3.0ml |

: Heat in a boiling H20 bath for 20 minutes

: Remove and allow to cool to room temperature away from bright light

: Obtain the colorimetric readings of test and standards against blank at transmission 520nm

Urea serum level = Absorbance of test x conc. Standard/Absorbance of standard

Urastrat method

Urastrat is a reagent impregnated paper strip for estimating urea in serum or plasma

Reagent: Bromocresol green

: Tartaric acid

: Potassium carbonate

Principle: Urea is digested by buffered urease at room temperature to form an ammonium salt whose ammonia is liberated by potassium carbonate. This ammonia gas liberated reacts with bromocresol green acidified with standardized tartaric acid to form a blue/green colour. The height of the colour change reached in 30 minutes is directly proportional to the urea concentration.

Procedure: 1.Put 0.2ml of serum in a test tube

2.Dip the strip and time for 30 minutes

3.After 30minutes measure the length of blue colour in mm

Calculation: Serum urea = mm x 10 + 20mg%

Normals = 15 – 40mg% ( 2.5 – 6.6 mmol/l )

Interpretation of blood urea results

Blood normally contains a small amount of urea and the amount may vary with the amount of protein in the diet. Higher plasma urea levels is known as azotaemia. Patients with higher blood urea levels are said to be suffering from uraemia. Patients of this kind may go into ureamic coma and eventually die if they are not treated by haemodialysis.

In the elderly, the level of urea may be a little higher than normal. Low values may be found during pregnancy and in full term infants. Premature infants may have slightly higher values than the adult range.

Determination of urinary urea

The average concentration of urea in urine over a period of 24 hours in a normal person is about 2.0g%.

The quantitation of urinary urea is one of the tests which assess the efficiency of the kidney.

Urea clearance test

This together with other occurance tests such as creatinine clearance test and phenol sulphaphthalein test are tests aimed at ascertaining the efficiency of the kidneys in their excretory function. The renal clearance of a substance is obtained by measuring the volume of urine excreted per minute, the amount of substance both in urine and in blood, both samples collected at about the same time.

Mathematically, the clearance of a substance is calculated according to the following formula.

Clearance of a substance = UV/B ml per minutes.

Where : U= mg of substance ( urea/100ml urine)

B= mg of substance ( urea/100ml plasma)

V= Volume of urine (ml) excreted per minute.

Urea clearance then can be defined as the number of ml of blood which contain the urea excreted in a minute by the kidneys. This is given by the formula:

Urea clearance = mg urea excreted per minute/mg urea per ml of blood = UV/B

Since most of it is excreted from the body by the kidneys, the clearance of this waste product is a measure of kidney function. Normal urea clearance is 75ml/minute.

Creatinine and creatine

Creatine and creatinine are two related nitrogen containing compounds associated with protein metabolism in the body. Creatine is an important constituent of the muscle, where it occurs in combined form with phosphoric acid as phosphocreatine. In the phosphorylated form, creatine plays an important role as a reservoir of high energy source in form of adenine tri-phosphate. During contraction of muscles energy is supplied by the conversion of adenine tri-phosphate to adenine di-phosphate.

Creatinine is a nitrogenous end product of creatine metabolism in muscle tissue. Creatinine has no function in the physiology of the body. It is normally removed from the circulation by glomerular filtration and excreted in urine, though small amounts may be reabsorbed by the renal tubules.

Higher plasma levels are usually very rare, but when encountered, are normally associated with abnormal renal function as it relates to glomerular function. Creatinine clearance value of an individual therefore, is a measure of kidney function.

Determination of creatinine

The assay of creatinine level is  a good screening index of renal function. One such index is creatinine clearance test. Creatinine clearance test is done to assess the glomerular filtration capabilities of the kidneys. Creatinine clearance is defined as the milliliters of blood/plasma that are cleared of creatinine by the kidneys per unit time. To perform this test, the total volume of urine during 24 hours period is collected and measured. Blood is collected about 12 hours of the urine collection on the day of the test. The creatinine levels of the plasma/serum and urine are determined.

The creatinine clearance is obtained with the formula: Creatinine clearance ml/min =UV/P

Where : U=concentration of creatinine in urine

: P=concentration of creatinine in plasma

: V=volume in milliliters of urine excreted per minute

Qualitative estimation of creatinine

Qualitative estimation of creatinine makes use of Jeffe reaction, the production of red colour with an alkaline picrate solution.

Alkaline picric method

Reagent: 1. 10% Na2WO4 solution

2.2/3 H2SO4

3. Picric acid

4.0.75N. sodium hydroxide solution

Principle: Creatinine reacts with alkaline picrate solution to form a red colour which is measured in a spectrophotometer. The intensity of the  red colour is directly proportional to the creatinine concentration present.

Sample preparation

Dilute an aliquot of the test sample with an aliquot of distilled water. Precipitate out the proreins by adding aliquot of equal volume of 2/3N. H2SO4  and 10% Na2WO4 solution.

Procedure: 1.Add solutions to labeled tubes as follows:

| Test Tubes | Blank | Test | Standard |
| --- | --- | --- | --- |
| Distilled water | 3.0ml | ---- | ---- |
| Sample supernatant | ---- | 3.0ml | ---- |
| Creatinine standard | ---- | ---- | 3.0ml |
| 0.4M picric acid | 1.0ml | 1.0ml | 1.0ml |

2. Shake the tubes to mix and let them stand for 15min at room temperature.

3. Obtain the colorimetric readings of test and standard against transmission 500nm

Results: Serum creatinine concentration = OD of test x conc. Of standard/OD of standard

Uric acid                                                                                                                                                                       Uric acid is the end product of purine metabolism in higher primates such as man and ape. Structurally, uric acid exists in two tautomeric forms, either as keto or enol. This phenomenon is known as keto-enol tautomerism.

Formation of uric acid

Purines such as adenosine and guanine from the breakdown of ingested nucleic acids or from tissue destruction undergo degradation process in the liver to form uric acid as the end-point of purine metabolism in man and ape. Uric acid is then transported by plasma from the liver to the kidney where it is filtered by the glomerulus. Nearly all the filtered uric acid is reabsorbed in the proximal tubules and small amounts are then secreted by the distal tubules into the urine.

Blood levels

Under normal physiological condition blood always contain uric acid which is higher in men ( 3.0—7.0)mg% than in women ( 2.0—5.0)mg%.

Normally, uric acid levels rise slightly after a severe physical exercise, a fatty meal and during fasting. Nearly all of the uric acid in the plasma is in the form of monosodium urate. Urates in this form are relatively insoluble.

Disease correlations

Three major disease states are associated with elevated levels of uric acid in the plasma. These are:

1.Gout, a defect of nucleic acid metabolism or acquired through taking wrong diet such as alcohol and drugs. The characteristic feature in this disease is an increase in the urate pool in the body. Sodium urates precipitate in and around the joints causing pain and inflammation of the joints.

2.Patients on chemotherapy for proliferative diseases such as leukemia, lymphoma, and multiple myeloma due to the increased breakdown of cell nuclei.

3.Patients with haemolytic and megaloblastic anaemia may also exhibit elevated levels of uric acid.

4.Chronic renal diseases also cause elevated levels of uric acid because filtration and secretion is hampered. However uric acid is not useful as an indicator of renal function because so many other factors affect its plasma levels.

Formation of uric acid

Purines such as adenosine and guanine from the breakdown of ingested nucleic acids or from tissue destruction undergo degradation process in the liver to form uric acid as the end-point of purine metabolism in man and ape. Uric acid is then transported by plasma from the liver to the kidney where it is filtered by the glomerulus. Nearly all the filtered uric acid is reabsorbed in the proximal tubules and small amounts are then secreted by the distal tubules into the urine.

Determination of serum uric acid levels

The quantitative determination of serum uric acid is important for the diagnosis and management of gout. Most methods used to determine uric acid levels are based on the reaction of uric acid with phosphotungstic acid in an alkaline solution. Several manual methods have since been introduced. These are: 1. Method of Brown

2. Method of Caraway

3. Method of Henry Sobel and Kim

Henry Sobel and Kim method

Reagents: -Phosphotungstic acid

-14% anhydrous Na2CO3   in distilled water

-Protein precipitate

-Uric acid working standards

Preparation of the test sample

1. Dilute an aliquot of patient serum with an aliquot of distilled water.

2. Precipitate out proteins by adding equal volumes of 2/3 N H2SO4 and 10% Na2WO4 solutions

3. Shake to mix and centrifuge hard

Principle: Uric acid reduces phosphotungstic acid in an alkaline medium to form tungstein blue. The intensity of the blue colour is directly proportiona to the uric acid present.

| Test Tubes | Blank | Test | standard |
| --- | --- | --- | --- |
| Distilled water | 3.0ml | ------- | ------- |
| Sample supernatant | ------- | 3.0ml | ------- |
| Working uric acid 1/10 dilution | ------- | ------- | 3.0ml |
| 14% Na2CO3 solution | 1.0ml | 1.0ml | 1.0ml |

Procedure:

1.Add solutions to the labeled tubes as follows:

2.Shake to mix and allow to stand for 15 minutes at room temperature.

3.Obtain the colorimetric readings of test and standard at transmission 700nm against blank.

Results: Serum uric acid = OD of test x conc. of standard/OD of standard.